## Test 1 OBM CC27 (Disregard)
Data Series Information
Name: |  |  | testCC27_M 1
Sample: |  |  | OBM-1
Operator: |  |  | Mercy
Number of Intervals: |  |  | 3
Application: |  |  | RHEOPLUS/32 V3.62 21006576-33024
Device: |  |  | MCR302 SN81236725; FW4.53; Slot(5,-1); Adj(1394,0)d
Measuring Date/Time: |  |  | 30.05.2024; 10:35 p.m.
Measuring System: |  |  | CC27/P6-SN30951; d=0 mm
Accessories: |  |  | TU1=C-PTD200-SN81251872
Interval: |  |  | 1
Number of Data Points: |  |  | 1
Time Setting: |  |  | 1 Meas. Pts.
Meas. Pt. Duration 1 s
Measuring Profile:
Shear Rate |  |  | d(gamma)/dt = 1 000 1/s
Meas. Pts. | Shear Rate | Shear Stress | Viscosity | Speed | Torque | Status
| [1/s] | [Pa] | [Pa·s] | [1/min] | [µNm] | []
1 | 1 000 | 42.7 | 0.0427 | 775 | 2 140 | Dy_auto
Interval: |  |  | 2
Number of Data Points: |  |  | 180
Time Setting: |  |  | 180 Meas. Pts.
Meas. Pt. Duration 2 s
Measuring Profile:
Shear Rate |  |  | d(gamma)/dt = 1 000 ... 0,1 1/s lin
Meas. Pts. | Shear Rate | Shear Stress | Viscosity | Speed | Torque | Status
| [1/s] | [Pa] | [Pa·s] | [1/min] | [µNm] | []
1 | 1000 | 41.9 | 0.0419 | 775 | 2 100 | Dy_auto
2 | 994 | 41.4 | 0.0417 | 771 | 2 080 | Dy_auto
3 | 989 | 41.1 | 0.0416 | 767 | 2 060 | Dy_auto
4 | 983 | 40.8 | 0.0415 | 762 | 2 040 | Dy_auto
5 | 978 | 40.6 | 0.0415 | 758 | 2 030 | Dy_auto
6 | 972 | 40.3 | 0.0415 | 754 | 2 020 | Dy_auto
7 | 966 | 40 | 0.0414 | 749 | 2 010 | Dy_auto
8 | 961 | 39.8 | 0.0414 | 745 | 1 990 | Dy_auto
9 | 955 | 39.5 | 0.0413 | 741 | 1 980 | Dy_auto
10 | 950 | 39.2 | 0.0413 | 736 | 1 960 | Dy_auto
11 | 944 | 38.9 | 0.0412 | 732 | 1 950 | Dy_auto
12 | 938 | 38.7 | 0.0412 | 728 | 1 940 | Dy_auto
13 | 933 | 38.4 | 0.0412 | 723 | 1 920 | Dy_auto
14 | 927 | 38.1 | 0.0411 | 719 | 1 910 | Dy_auto
15 | 922 | 37.8 | 0.0411 | 715 | 1 900 | Dy_auto
16 | 916 | 37.6 | 0.041 | 710 | 1 880 | Dy_auto
17 | 911 | 37.3 | 0.0409 | 706 | 1 870 | Dy_auto
18 | 905 | 37 | 0.0409 | 702 | 1 850 | Dy_auto
19 | 899 | 36.7 | 0.0408 | 697 | 1 840 | Dy_auto
20 | 894 | 36.4 | 0.0407 | 693 | 1 820 | Dy_auto
21 | 888 | 36.1 | 0.0407 | 689 | 1 810 | Dy_auto
22 | 883 | 35.8 | 0.0406 | 684 | 1 800 | Dy_auto
23 | 877 | 35.6 | 0.0406 | 680 | 1 780 | Dy_auto
24 | 872 | 35.3 | 0.0405 | 676 | 1 770 | Dy_auto
25 | 866 | 35 | 0.0404 | 671 | 1 750 | Dy_auto
26 | 860 | 34.7 | 0.0403 | 667 | 1 740 | Dy_auto
27 | 855 | 34.4 | 0.0403 | 663 | 1 720 | Dy_auto
28 | 849 | 34.2 | 0.0402 | 658 | 1 710 | Dy_auto
29 | 844 | 33.9 | 0.0402 | 654 | 1 700 | Dy_auto
30 | 838 | 33.6 | 0.0401 | 650 | 1 680 | Dy_auto
31 | 832 | 33.4 | 0.0401 | 645 | 1 670 | Dy_auto
32 | 827 | 33.1 | 0.04 | 641 | 1 660 | Dy_auto
33 | 821 | 32.9 | 0.04 | 637 | 1 650 | Dy_auto
34 | 816 | 32.6 | 0.04 | 632 | 1 630 | Dy_auto
35 | 810 | 32.4 | 0.04 | 628 | 1 620 | Dy_auto
36 | 804 | 32.1 | 0.0399 | 624 | 1 610 | Dy_auto
37 | 799 | 31.9 | 0.0399 | 619 | 1 600 | Dy_auto
38 | 793 | 31.6 | 0.0399 | 615 | 1 590 | Dy_auto
39 | 788 | 31.4 | 0.0399 | 611 | 1 570 | Dy_auto
40 | 782 | 31.2 | 0.0398 | 606 | 1 560 | Dy_auto
41 | 777 | 30.9 | 0.0398 | 602 | 1 550 | Dy_auto
42 | 771 | 30.7 | 0.0398 | 598 | 1 540 | Dy_auto
43 | 765 | 30.5 | 0.0398 | 593 | 1 530 | Dy_auto
44 | 760 | 30.2 | 0.0398 | 589 | 1 510 | Dy_auto
45 | 754 | 30 | 0.0398 | 585 | 1 500 | Dy_auto
46 | 749 | 29.8 | 0.0398 | 580 | 1 490 | Dy_auto
47 | 743 | 29.5 | 0.0397 | 576 | 1 480 | Dy_auto
48 | 737 | 29.3 | 0.0398 | 572 | 1 470 | Dy_auto
49 | 732 | 29.1 | 0.0397 | 567 | 1 460 | Dy_auto
50 | 726 | 28.9 | 0.0397 | 563 | 1 450 | Dy_auto
51 | 721 | 28.7 | 0.0398 | 559 | 1 440 | Dy_auto
52 | 715 | 28.4 | 0.0397 | 554 | 1 420 | Dy_auto
53 | 710 | 28.2 | 0.0398 | 550 | 1 410 | Dy_auto
54 | 704 | 28 | 0.0397 | 546 | 1 400 | Dy_auto
55 | 698 | 27.8 | 0.0397 | 541 | 1 390 | Dy_auto
56 | 693 | 27.5 | 0.0398 | 537 | 1 380 | Dy_auto
57 | 687 | 27.3 | 0.0397 | 533 | 1 370 | Dy_auto
58 | 682 | 27.1 | 0.0398 | 528 | 1 360 | Dy_auto
59 | 676 | 26.9 | 0.0398 | 524 | 1 350 | Dy_auto
60 | 670 | 26.7 | 0.0398 | 520 | 1 340 | Dy_auto
61 | 665 | 26.4 | 0.0398 | 515 | 1 320 | Dy_auto
62 | 659 | 26.2 | 0.0398 | 511 | 1 310 | Dy_auto
63 | 654 | 26 | 0.0398 | 507 | 1 300 | Dy_auto
64 | 648 | 25.8 | 0.0398 | 502 | 1 290 | Dy_auto
65 | 643 | 25.6 | 0.0398 | 498 | 1 280 | Dy_auto
66 | 637 | 25.4 | 0.0398 | 494 | 1 270 | Dy_auto
67 | 631 | 25.1 | 0.0398 | 489 | 1 260 | Dy_auto
68 | 626 | 24.9 | 0.0399 | 485 | 1 250 | Dy_auto
69 | 620 | 24.7 | 0.0399 | 481 | 1 240 | Dy_auto
70 | 615 | 24.5 | 0.0399 | 476 | 1 230 | Dy_auto
71 | 609 | 24.3 | 0.0399 | 472 | 1 220 | Dy_auto
72 | 603 | 24.1 | 0.0399 | 468 | 1 210 | Dy_auto
73 | 598 | 23.9 | 0.0399 | 463 | 1 200 | Dy_auto
74 | 592 | 23.6 | 0.0399 | 459 | 1 180 | Dy_auto
75 | 587 | 23.5 | 0.04 | 455 | 1 170 | Dy_auto
76 | 581 | 23.2 | 0.04 | 451 | 1 160 | Dy_auto
77 | 575 | 23 | 0.04 | 446 | 1 150 | Dy_auto
78 | 570 | 22.8 | 0.04 | 442 | 1 140 | Dy_auto
79 | 564 | 22.6 | 0.0401 | 437 | 1 130 | Dy_auto
80 | 559 | 22.4 | 0.0401 | 433 | 1 120 | Dy_auto
81 | 553 | 22.2 | 0.0401 | 429 | 1 110 | Dy_auto
82 | 548 | 22 | 0.0401 | 425 | 1 100 | Dy_auto
83 | 542 | 21.8 | 0.0402 | 420 | 1 090 | Dy_auto
84 | 536 | 21.5 | 0.0402 | 416 | 1 080 | Dy_auto
85 | 531 | 21.3 | 0.0402 | 412 | 1 070 | Dy_auto
86 | 525 | 21.1 | 0.0403 | 407 | 1 060 | Dy_auto
87 | 520 | 20.9 | 0.0402 | 403 | 1 050 | Dy_auto
88 | 514 | 20.7 | 0.0403 | 399 | 1 040 | Dy_auto
89 | 508 | 20.5 | 0.0404 | 394 | 1 030 | Dy_auto
90 | 503 | 20.3 | 0.0404 | 390 | 1 020 | Dy_auto
91 | 497 | 20.1 | 0.0404 | 386 | 1 010 | Dy_auto
92 | 492 | 19.9 | 0.0404 | 381 | 995 | Dy_auto
93 | 486 | 19.7 | 0.0405 | 377 | 985 | Dy_auto
94 | 480 | 19.5 | 0.0405 | 373 | 974 | Dy_auto
95 | 475 | 19.3 | 0.0406 | 368 | 965 | Dy_auto
96 | 469 | 19.1 | 0.0406 | 364 | 954 | Dy_auto
97 | 464 | 18.8 | 0.0406 | 360 | 944 | Dy_auto
98 | 458 | 18.6 | 0.0407 | 355 | 933 | Dy_auto
99 | 453 | 18.4 | 0.0407 | 351 | 923 | Dy_auto
100 | 447 | 18.2 | 0.0408 | 347 | 913 | Dy_auto
101 | 441 | 18 | 0.0408 | 342 | 902 | Dy_auto
102 | 436 | 17.8 | 0.0408 | 338 | 891 | Dy_auto
103 | 430 | 17.6 | 0.0409 | 334 | 882 | Dy_auto
104 | 425 | 17.4 | 0.041 | 329 | 871 | Dy_auto
105 | 419 | 17.2 | 0.041 | 325 | 860 | Dy_auto
106 | 413 | 17 | 0.041 | 321 | 850 | Dy_auto
107 | 408 | 16.8 | 0.0412 | 316 | 841 | Dy_auto
108 | 402 | 16.6 | 0.0412 | 312 | 829 | Dy_auto
109 | 397 | 16.4 | 0.0412 | 308 | 820 | Dy_auto
110 | 391 | 16.2 | 0.0413 | 303 | 809 | Dy_auto
111 | 386 | 16 | 0.0414 | 299 | 799 | Dy_auto
112 | 380 | 15.7 | 0.0414 | 295 | 789 | Dy_auto
113 | 374 | 15.5 | 0.0415 | 290 | 779 | Dy_auto
114 | 369 | 15.3 | 0.0416 | 286 | 768 | Dy_auto
115 | 363 | 15.1 | 0.0417 | 282 | 759 | Dy_auto
116 | 358 | 14.9 | 0.0418 | 277 | 748 | Dy_auto
117 | 352 | 14.7 | 0.0418 | 273 | 737 | Dy_auto
118 | 346 | 14.5 | 0.0419 | 269 | 727 | Dy_auto
119 | 341 | 14.3 | 0.042 | 264 | 718 | Dy_auto
120 | 335 | 14.1 | 0.0421 | 260 | 708 | Dy_auto
121 | 330 | 13.9 | 0.0422 | 256 | 696 | Dy_auto
122 | 324 | 13.7 | 0.0423 | 251 | 687 | Dy_auto
123 | 319 | 13.5 | 0.0424 | 247 | 677 | Dy_auto
124 | 313 | 13.3 | 0.0425 | 243 | 667 | Dy_auto
125 | 307 | 13.1 | 0.0426 | 238 | 656 | Dy_auto
126 | 302 | 12.9 | 0.0427 | 234 | 646 | Dy_auto
127 | 296 | 12.7 | 0.0429 | 230 | 636 | Dy_auto
128 | 291 | 12.5 | 0.043 | 225 | 626 | Dy_auto
129 | 285 | 12.3 | 0.0432 | 221 | 616 | Dy_auto
130 | 279 | 12.1 | 0.0432 | 217 | 605 | Dy_auto
131 | 274 | 11.9 | 0.0434 | 212 | 595 | Dy_auto
132 | 268 | 11.7 | 0.0436 | 208 | 585 | Dy_auto
133 | 263 | 11.5 | 0.0437 | 204 | 575 | Dy_auto
134 | 257 | 11.3 | 0.044 | 199 | 566 | Dy_auto
135 | 251 | 11.1 | 0.0441 | 195 | 555 | Dy_auto
136 | 246 | 10.9 | 0.0443 | 191 | 546 | Dy_auto
137 | 240 | 10.7 | 0.0445 | 186 | 535 | Dy_auto
138 | 235 | 10.5 | 0.0447 | 182 | 525 | Dy_auto
139 | 229 | 10.3 | 0.0449 | 178 | 515 | Dy_auto
140 | 224 | 10.1 | 0.0451 | 173 | 505 | Dy_auto
141 | 218 | 9.87 | 0.0453 | 169 | 495 | Dy_auto
142 | 212 | 9.68 | 0.0456 | 165 | 485 | Dy_auto
143 | 207 | 9.47 | 0.0458 | 160 | 475 | Dy_auto
144 | 201 | 9.26 | 0.046 | 156 | 464 | Dy_auto
145 | 196 | 9.06 | 0.0463 | 152 | 454 | Dy_auto
146 | 190 | 8.86 | 0.0466 | 147 | 444 | Dy_auto
147 | 184 | 8.66 | 0.0469 | 143 | 434 | Dy_auto
148 | 179 | 8.46 | 0.0473 | 139 | 424 | Dy_auto
149 | 173 | 8.25 | 0.0476 | 134 | 413 | Dy_auto
150 | 168 | 8.05 | 0.048 | 130 | 403 | Dy_auto
151 | 162 | 7.84 | 0.0484 | 126 | 393 | Dy_auto
152 | 157 | 7.63 | 0.0488 | 121 | 382 | Dy_auto
153 | 151 | 7.43 | 0.0492 | 117 | 372 | Dy_auto
154 | 145 | 7.22 | 0.0497 | 113 | 362 | Dy_auto
155 | 140 | 7.01 | 0.0502 | 108 | 351 | Dy_auto
156 | 134 | 6.8 | 0.0507 | 104 | 341 | Dy_auto
157 | 129 | 6.59 | 0.0513 | 99.7 | 330 | Dy_auto
158 | 123 | 6.38 | 0.0519 | 95.4 | 320 | Dy_auto
159 | 117 | 6.17 | 0.0525 | 91 | 309 | Dy_auto
160 | 112 | 5.95 | 0.0532 | 86.7 | 298 | Dy_auto
161 | 106 | 5.74 | 0.054 | 82.4 | 288 | Dy_auto
162 | 101 | 5.52 | 0.0548 | 78 | 277 | Dy_auto
163 | 95.1 | 5.3 | 0.0558 | 73.7 | 266 | Dy_auto
164 | 89.5 | 5.08 | 0.0568 | 69.4 | 255 | Dy_auto
165 | 83.9 | 4.86 | 0.0579 | 65 | 243 | Dy_auto
166 | 78.3 | 4.63 | 0.0592 | 60.7 | 232 | Dy_auto
167 | 72.7 | 4.4 | 0.0606 | 56.4 | 221 | Dy_auto
168 | 67.1 | 4.17 | 0.0621 | 52 | 209 | Dy_auto
169 | 61.5 | 3.94 | 0.064 | 47.7 | 197 | Dy_auto
170 | 56 | 3.69 | 0.066 | 43.4 | 185 | Dy_auto
171 | 50.4 | 3.46 | 0.0686 | 39.1 | 173 | Dy_auto
172 | 44.8 | 3.2 | 0.0715 | 34.7 | 160 | Dy_auto
173 | 39.2 | 2.94 | 0.0751 | 30.4 | 147 | Dy_auto
174 | 33.6 | 2.68 | 0.0797 | 26.1 | 134 | Dy_auto
175 | 28 | 2.4 | 0.0856 | 21.7 | 120 | Dy_auto
176 | 22.4 | 2.08 | 0.0929 | 17.4 | 104 | Dy_auto
177 | 16.9 | 1.78 | 0.106 | 13.1 | 89.4 | Dy_auto
178 | 11.3 | 1.41 | 0.125 | 8.74 | 70.7 | Dy_auto
179 | 5.69 | 0.959 | 0.169 | 4.41 | 48 | Dy_auto
180 | 0.1 | 0.0499 | 0.499 | 0.0775 | 2.5 | Dy_auto
Interval: |  |  | 3
Number of Data Points: |  |  | 180
Time Setting: |  |  | 180 Meas. Pts., Reset Strain
Meas. Pt. Duration 2 s
Measuring Profile:
Shear Rate |  |  | d(gamma)/dt = 0,1 ... 1 000 1/s lin
Meas. Pts. | Shear Rate | Shear Stress | Viscosity | Speed | Torque | Status
| [1/s] | [Pa] | [Pa·s] | [1/min] | [µNm] | []
1 | 0.1 | 0.0808 | 0.808 | 0.0775 | 4.05 | Dy_auto
2 | 5.69 | 1.06 | 0.187 | 4.41 | 53.3 | Dy_auto
3 | 11.3 | 1.53 | 0.136 | 8.74 | 76.7 | Dy_auto
4 | 16.9 | 1.88 | 0.112 | 13.1 | 94.1 | Dy_auto
5 | 22.4 | 2.2 | 0.098 | 17.4 | 110 | Dy_auto
6 | 28 | 2.48 | 0.0885 | 21.7 | 124 | Dy_auto
7 | 33.6 | 2.76 | 0.0822 | 26.1 | 138 | Dy_auto
8 | 39.2 | 3.03 | 0.0773 | 30.4 | 152 | Dy_auto
9 | 44.8 | 3.28 | 0.0733 | 34.7 | 164 | Dy_auto
10 | 50.4 | 3.53 | 0.0702 | 39 | 177 | Dy_auto
11 | 55.9 | 3.78 | 0.0676 | 43.4 | 189 | Dy_auto
12 | 61.5 | 4.01 | 0.0652 | 47.7 | 201 | Dy_auto
13 | 67.1 | 4.25 | 0.0633 | 52 | 213 | Dy_auto
14 | 72.7 | 4.48 | 0.0616 | 56.4 | 224 | Dy_auto
15 | 78.3 | 4.7 | 0.0601 | 60.7 | 236 | Dy_auto
16 | 83.9 | 4.93 | 0.0588 | 65 | 247 | Dy_auto
17 | 89.5 | 5.15 | 0.0576 | 69.4 | 258 | Dy_auto
18 | 95.1 | 5.37 | 0.0565 | 73.7 | 269 | Dy_auto
19 | 101 | 5.59 | 0.0555 | 78 | 280 | Dy_auto
20 | 106 | 5.81 | 0.0547 | 82.4 | 291 | Dy_auto
21 | 112 | 6.03 | 0.0539 | 86.7 | 302 | Dy_auto
22 | 117 | 6.24 | 0.0532 | 91 | 313 | Dy_auto
23 | 123 | 6.45 | 0.0525 | 95.4 | 323 | Dy_auto
24 | 129 | 6.66 | 0.0518 | 99.7 | 334 | Dy_auto
25 | 134 | 6.88 | 0.0513 | 104 | 345 | Dy_auto
26 | 140 | 7.09 | 0.0507 | 108 | 355 | Dy_auto
27 | 145 | 7.3 | 0.0502 | 113 | 366 | Dy_auto
28 | 151 | 7.51 | 0.0498 | 117 | 376 | Dy_auto
29 | 157 | 7.72 | 0.0493 | 121 | 387 | Dy_auto
30 | 162 | 7.92 | 0.0489 | 126 | 397 | Dy_auto
31 | 168 | 8.14 | 0.0485 | 130 | 408 | Dy_auto
32 | 173 | 8.34 | 0.0481 | 134 | 418 | Dy_auto
33 | 179 | 8.56 | 0.0478 | 139 | 429 | Dy_auto
34 | 184 | 8.76 | 0.0475 | 143 | 439 | Dy_auto
35 | 190 | 8.96 | 0.0471 | 147 | 449 | Dy_auto
36 | 196 | 9.16 | 0.0469 | 152 | 459 | Dy_auto
37 | 201 | 9.38 | 0.0466 | 156 | 470 | Dy_auto
38 | 207 | 9.58 | 0.0464 | 160 | 480 | Dy_auto
39 | 212 | 9.77 | 0.046 | 165 | 490 | Dy_auto
40 | 218 | 9.99 | 0.0458 | 169 | 500 | Dy_auto
41 | 224 | 10.2 | 0.0456 | 173 | 511 | Dy_auto
42 | 229 | 10.4 | 0.0454 | 178 | 521 | Dy_auto
43 | 235 | 10.6 | 0.0451 | 182 | 531 | Dy_auto
44 | 240 | 10.8 | 0.0449 | 186 | 541 | Dy_auto
45 | 246 | 11 | 0.0447 | 191 | 551 | Dy_auto
46 | 251 | 11.2 | 0.0446 | 195 | 561 | Dy_auto
47 | 257 | 11.4 | 0.0444 | 199 | 572 | Dy_auto
48 | 263 | 11.6 | 0.0441 | 204 | 581 | Dy_auto
49 | 268 | 11.8 | 0.044 | 208 | 591 | Dy_auto
50 | 274 | 12 | 0.0438 | 212 | 601 | Dy_auto
51 | 279 | 12.2 | 0.0437 | 217 | 612 | Dy_auto
52 | 285 | 12.4 | 0.0436 | 221 | 623 | Dy_auto
53 | 291 | 12.6 | 0.0434 | 225 | 631 | Dy_auto
54 | 296 | 12.8 | 0.0433 | 230 | 643 | Dy_auto
55 | 302 | 13 | 0.0432 | 234 | 652 | Dy_auto
56 | 307 | 13.2 | 0.043 | 238 | 662 | Dy_auto
57 | 313 | 13.4 | 0.0429 | 243 | 672 | Dy_auto
58 | 319 | 13.6 | 0.0428 | 247 | 682 | Dy_auto
59 | 324 | 13.8 | 0.0427 | 251 | 693 | Dy_auto
60 | 330 | 14 | 0.0425 | 256 | 703 | Dy_auto
61 | 335 | 14.2 | 0.0425 | 260 | 714 | Dy_auto
62 | 341 | 14.4 | 0.0423 | 264 | 723 | Dy_auto
63 | 346 | 14.6 | 0.0422 | 269 | 733 | Dy_auto
64 | 352 | 14.8 | 0.0421 | 273 | 743 | Dy_auto
65 | 358 | 15.1 | 0.0421 | 277 | 754 | Dy_auto
66 | 363 | 15.2 | 0.042 | 282 | 764 | Dy_auto
67 | 369 | 15.4 | 0.0419 | 286 | 774 | Dy_auto
68 | 374 | 15.6 | 0.0418 | 290 | 784 | Dy_auto
69 | 380 | 15.9 | 0.0417 | 295 | 794 | Dy_auto
70 | 386 | 16.1 | 0.0417 | 299 | 804 | Dy_auto
71 | 391 | 16.3 | 0.0416 | 303 | 814 | Dy_auto
72 | 397 | 16.5 | 0.0415 | 308 | 825 | Dy_auto
73 | 402 | 16.7 | 0.0414 | 312 | 835 | Dy_auto
74 | 408 | 16.9 | 0.0414 | 316 | 845 | Dy_auto
75 | 413 | 17.1 | 0.0413 | 321 | 855 | Dy_auto
76 | 419 | 17.3 | 0.0413 | 325 | 866 | Dy_auto
77 | 425 | 17.5 | 0.0412 | 329 | 877 | Dy_auto
78 | 430 | 17.7 | 0.0412 | 334 | 887 | Dy_auto
79 | 436 | 17.9 | 0.041 | 338 | 896 | Dy_auto
80 | 441 | 18.1 | 0.041 | 342 | 907 | Dy_auto
81 | 447 | 18.3 | 0.041 | 347 | 917 | Dy_auto
82 | 453 | 18.5 | 0.0409 | 351 | 928 | Dy_auto
83 | 458 | 18.7 | 0.0409 | 355 | 937 | Dy_auto
84 | 464 | 18.9 | 0.0408 | 360 | 948 | Dy_auto
85 | 469 | 19.1 | 0.0408 | 364 | 958 | Dy_auto
86 | 475 | 19.3 | 0.0407 | 368 | 968 | Dy_auto
87 | 480 | 19.5 | 0.0407 | 373 | 979 | Dy_auto
88 | 486 | 19.7 | 0.0406 | 377 | 988 | Dy_auto
89 | 492 | 20 | 0.0406 | 381 | 1 000 | Dy_auto
90 | 497 | 20.2 | 0.0405 | 386 | 1 010 | Dy_auto
91 | 503 | 20.3 | 0.0405 | 390 | 1 020 | Dy_auto
92 | 508 | 20.6 | 0.0404 | 394 | 1 030 | Dy_auto
93 | 514 | 20.8 | 0.0404 | 399 | 1 040 | Dy_auto
94 | 520 | 20.9 | 0.0403 | 403 | 1 050 | Dy_auto
95 | 525 | 21.2 | 0.0403 | 407 | 1 060 | Dy_auto
96 | 531 | 21.4 | 0.0403 | 412 | 1 070 | Dy_auto
97 | 536 | 21.6 | 0.0402 | 416 | 1 080 | Dy_auto
98 | 542 | 21.8 | 0.0402 | 420 | 1 090 | Dy_auto
99 | 548 | 22 | 0.0401 | 424 | 1 100 | Dy_auto
100 | 553 | 22.2 | 0.0401 | 429 | 1 110 | Dy_auto
101 | 559 | 22.4 | 0.0401 | 433 | 1 120 | Dy_auto
102 | 564 | 22.6 | 0.04 | 437 | 1 130 | Dy_auto
103 | 570 | 22.8 | 0.04 | 442 | 1 140 | Dy_auto
104 | 575 | 23 | 0.04 | 446 | 1 150 | Dy_auto
105 | 581 | 23.2 | 0.0399 | 450 | 1 160 | Dy_auto
106 | 587 | 23.4 | 0.0399 | 455 | 1 170 | Dy_auto
107 | 592 | 23.6 | 0.0399 | 459 | 1 180 | Dy_auto
108 | 598 | 23.8 | 0.0398 | 463 | 1 190 | Dy_auto
109 | 603 | 24 | 0.0398 | 468 | 1 200 | Dy_auto
110 | 609 | 24.2 | 0.0398 | 472 | 1 210 | Dy_auto
111 | 615 | 24.4 | 0.0397 | 476 | 1 220 | Dy_auto
112 | 620 | 24.6 | 0.0397 | 481 | 1 230 | Dy_auto
113 | 626 | 24.8 | 0.0397 | 485 | 1 240 | Dy_auto
114 | 631 | 25 | 0.0396 | 489 | 1 250 | Dy_auto
115 | 637 | 25.3 | 0.0397 | 494 | 1 270 | Dy_auto
116 | 642 | 25.4 | 0.0396 | 498 | 1 270 | Dy_auto
117 | 648 | 25.6 | 0.0396 | 502 | 1 280 | Dy_auto
118 | 654 | 25.9 | 0.0396 | 507 | 1 300 | Dy_auto
119 | 659 | 26.1 | 0.0395 | 511 | 1 310 | Dy_auto
120 | 665 | 26.3 | 0.0395 | 515 | 1 310 | Dy_auto
121 | 670 | 26.4 | 0.0395 | 520 | 1 320 | Dy_auto
122 | 676 | 26.7 | 0.0395 | 524 | 1 340 | Dy_auto
123 | 682 | 26.9 | 0.0394 | 528 | 1 350 | Dy_auto
124 | 687 | 27.1 | 0.0394 | 533 | 1 360 | Dy_auto
125 | 693 | 27.3 | 0.0394 | 537 | 1 370 | Dy_auto
126 | 698 | 27.5 | 0.0394 | 541 | 1 380 | Dy_auto
127 | 704 | 27.7 | 0.0393 | 546 | 1 390 | Dy_auto
128 | 709 | 27.9 | 0.0393 | 550 | 1 400 | Dy_auto
129 | 715 | 28.1 | 0.0393 | 554 | 1 410 | Dy_auto
130 | 721 | 28.3 | 0.0393 | 559 | 1 420 | Dy_auto
131 | 726 | 28.5 | 0.0393 | 563 | 1 430 | Dy_auto
132 | 732 | 28.7 | 0.0392 | 567 | 1 440 | Dy_auto
133 | 737 | 28.9 | 0.0392 | 572 | 1 450 | Dy_auto
134 | 743 | 29.2 | 0.0392 | 576 | 1 460 | Dy_auto
135 | 749 | 29.3 | 0.0392 | 580 | 1 470 | Dy_auto
136 | 754 | 29.5 | 0.0392 | 585 | 1 480 | Dy_auto
137 | 760 | 29.7 | 0.0392 | 589 | 1 490 | Dy_auto
138 | 765 | 30 | 0.0392 | 593 | 1 500 | Dy_auto
139 | 771 | 30.2 | 0.0391 | 598 | 1 510 | Dy_auto
140 | 777 | 30.4 | 0.0391 | 602 | 1 520 | Dy_auto
141 | 782 | 30.6 | 0.0391 | 606 | 1 530 | Dy_auto
142 | 788 | 30.8 | 0.0391 | 611 | 1 540 | Dy_auto
143 | 793 | 31 | 0.0391 | 615 | 1 550 | Dy_auto
144 | 799 | 31.2 | 0.0391 | 619 | 1 560 | Dy_auto
145 | 804 | 31.4 | 0.0391 | 624 | 1 570 | Dy_auto
146 | 810 | 31.6 | 0.039 | 628 | 1 580 | Dy_auto
147 | 816 | 31.8 | 0.039 | 632 | 1 590 | Dy_auto
148 | 821 | 32.1 | 0.039 | 637 | 1 610 | Dy_auto
149 | 827 | 32.3 | 0.039 | 641 | 1 620 | Dy_auto
150 | 832 | 32.5 | 0.039 | 645 | 1 630 | Dy_auto
151 | 838 | 32.7 | 0.039 | 650 | 1 640 | Dy_auto
152 | 844 | 32.9 | 0.039 | 654 | 1 650 | Dy_auto
153 | 849 | 33.1 | 0.039 | 658 | 1 660 | Dy_auto
154 | 855 | 33.3 | 0.039 | 663 | 1 670 | Dy_auto
155 | 860 | 33.5 | 0.039 | 667 | 1 680 | Dy_auto
156 | 866 | 33.7 | 0.039 | 671 | 1 690 | Dy_auto
157 | 872 | 33.9 | 0.0389 | 676 | 1 700 | Dy_auto
158 | 877 | 34.1 | 0.0389 | 680 | 1 710 | Dy_auto
159 | 883 | 34.4 | 0.0389 | 684 | 1 720 | Dy_auto
160 | 888 | 34.6 | 0.0389 | 689 | 1 730 | Dy_auto
161 | 894 | 34.8 | 0.0389 | 693 | 1 740 | Dy_auto
162 | 899 | 35 | 0.0389 | 697 | 1 750 | Dy_auto
163 | 905 | 35.2 | 0.0389 | 702 | 1 760 | Dy_auto
164 | 911 | 35.4 | 0.0389 | 706 | 1 770 | Dy_auto
165 | 916 | 35.6 | 0.0389 | 710 | 1 780 | Dy_auto
166 | 922 | 35.8 | 0.0389 | 715 | 1 790 | Dy_auto
167 | 927 | 36 | 0.0389 | 719 | 1 810 | Dy_auto
168 | 933 | 36.2 | 0.0389 | 723 | 1 820 | Dy_auto
169 | 939 | 36.5 | 0.0388 | 728 | 1 830 | Dy_auto
170 | 944 | 36.7 | 0.0388 | 732 | 1 840 | Dy_auto
171 | 950 | 36.9 | 0.0388 | 736 | 1 850 | Dy_auto
172 | 955 | 37.1 | 0.0388 | 741 | 1 860 | Dy_auto
173 | 961 | 37.3 | 0.0388 | 745 | 1 870 | Dy_auto
174 | 966 | 37.5 | 0.0388 | 749 | 1 880 | Dy_auto
175 | 972 | 37.7 | 0.0388 | 754 | 1 890 | Dy_auto
176 | 978 | 37.9 | 0.0388 | 758 | 1 900 | Dy_auto
177 | 983 | 38.2 | 0.0388 | 762 | 1 910 | Dy_auto
178 | 989 | 38.3 | 0.0388 | 767 | 1 920 | Dy_auto
179 | 994 | 38.6 | 0.0388 | 771 | 1 930 | Dy_auto
180 | 1000 | 38.8 | 0.0388 | 775 | 1 940 | Dy_auto

## Test 2 OBM CC27
Data Series Information
Name: |  |  | CC27-OBM1_T2 1
Sample: |  |  | OBM1
Operator: |  |  | M
Number of Intervals: |  |  | 3
Application: |  |  | RHEOPLUS/32 V3.62 21006576-33024
Device: |  |  | MCR302 SN81236725; FW4.53; Slot(5,-1); Adj(1394,0)d
Measuring Date/Time: |  |  | 30.05.2024; 11:20 p.m.
Measuring System: |  |  | CC27/P6-SN30951; d=0 mm
Accessories: |  |  | TU1=C-PTD200-SN81251872
Interval: |  |  | 1
Number of Data Points: |  |  | 1
Time Setting: |  |  | 1 Meas. Pts.
Meas. Pt. Duration 120 s
Measuring Profile:
Shear Rate |  |  | d(gamma)/dt = 1 000 1/s
Meas. Pts. | Shear Rate | Shear Stress | Viscosity | Speed | Torque | Status
| [1/s] | [Pa] | [Pa·s] | [1/min] | [µNm] | []
1 | 1 000 | 39.4 | 0.0394 | 775 | 1 980 | Dy_auto
Interval: |  |  | 2
Number of Data Points: |  |  | 180
Time Setting: |  |  | 180 Meas. Pts.
Meas. Pt. Duration 2 s
Measuring Profile:
Shear Rate |  |  | d(gamma)/dt = 1 000 ... 0,1 1/s lin
Meas. Pts. | Shear Rate | Shear Stress | Viscosity | Speed | Torque | Status
| [1/s] | [Pa] | [Pa·s] | [1/min] | [µNm] | []
1 | 1000 | 39.2 | 0.0392 | 775 | 1 960 | Dy_auto
2 | 994 | 38.9 | 0.0392 | 771 | 1 950 | Dy_auto
3 | 989 | 38.7 | 0.0391 | 767 | 1 940 | Dy_auto
4 | 983 | 38.5 | 0.0392 | 762 | 1 930 | Dy_auto
5 | 978 | 38.3 | 0.0391 | 758 | 1 920 | Dy_auto
6 | 972 | 38 | 0.0391 | 754 | 1 900 | Dy_auto
7 | 966 | 37.8 | 0.0391 | 749 | 1 890 | Dy_auto
8 | 961 | 37.6 | 0.0391 | 745 | 1 880 | Dy_auto
9 | 955 | 37.4 | 0.0392 | 741 | 1 870 | Dy_auto
10 | 950 | 37.1 | 0.0391 | 736 | 1 860 | Dy_auto
11 | 944 | 36.9 | 0.0391 | 732 | 1 850 | Dy_auto
12 | 938 | 36.7 | 0.0391 | 728 | 1 840 | Dy_auto
13 | 933 | 36.5 | 0.0391 | 723 | 1 830 | Dy_auto
14 | 927 | 36.3 | 0.0391 | 719 | 1 820 | Dy_auto
15 | 922 | 36.1 | 0.0391 | 715 | 1 810 | Dy_auto
16 | 916 | 35.8 | 0.0391 | 710 | 1 790 | Dy_auto
17 | 911 | 35.6 | 0.0391 | 706 | 1 780 | Dy_auto
18 | 905 | 35.4 | 0.0391 | 702 | 1 770 | Dy_auto
19 | 899 | 35.2 | 0.0391 | 697 | 1 760 | Dy_auto
20 | 894 | 35 | 0.0391 | 693 | 1 750 | Dy_auto
21 | 888 | 34.8 | 0.0391 | 689 | 1 740 | Dy_auto
22 | 883 | 34.5 | 0.0391 | 684 | 1 730 | Dy_auto
23 | 877 | 34.3 | 0.0391 | 680 | 1 720 | Dy_auto
24 | 872 | 34.1 | 0.0391 | 676 | 1 710 | Dy_auto
25 | 866 | 33.9 | 0.0391 | 671 | 1 700 | Dy_auto
26 | 860 | 33.6 | 0.0391 | 667 | 1 690 | Dy_auto
27 | 855 | 33.4 | 0.0391 | 663 | 1 670 | Dy_auto
28 | 849 | 33.2 | 0.0391 | 658 | 1 660 | Dy_auto
29 | 844 | 33 | 0.0391 | 654 | 1 650 | Dy_auto
30 | 838 | 32.8 | 0.0391 | 650 | 1 640 | Dy_auto
31 | 832 | 32.6 | 0.0391 | 645 | 1 630 | Dy_auto
32 | 827 | 32.4 | 0.0391 | 641 | 1 620 | Dy_auto
33 | 821 | 32.2 | 0.0392 | 637 | 1 610 | Dy_auto
34 | 816 | 31.9 | 0.0392 | 632 | 1 600 | Dy_auto
35 | 810 | 31.7 | 0.0392 | 628 | 1 590 | Dy_auto
36 | 805 | 31.5 | 0.0392 | 624 | 1 580 | Dy_auto
37 | 799 | 31.3 | 0.0391 | 619 | 1 570 | Dy_auto
38 | 793 | 31.1 | 0.0392 | 615 | 1 560 | Dy_auto
39 | 788 | 30.8 | 0.0392 | 611 | 1 540 | Dy_auto
40 | 782 | 30.6 | 0.0392 | 606 | 1 530 | Dy_auto
41 | 777 | 30.4 | 0.0392 | 602 | 1 520 | Dy_auto
42 | 771 | 30.2 | 0.0392 | 598 | 1 510 | Dy_auto
43 | 765 | 30 | 0.0392 | 593 | 1 500 | Dy_auto
44 | 760 | 29.8 | 0.0392 | 589 | 1 490 | Dy_auto
45 | 754 | 29.6 | 0.0392 | 585 | 1 480 | Dy_auto
46 | 749 | 29.4 | 0.0392 | 580 | 1 470 | Dy_auto
47 | 743 | 29.2 | 0.0392 | 576 | 1 460 | Dy_auto
48 | 737 | 28.9 | 0.0392 | 572 | 1 450 | Dy_auto
49 | 732 | 28.7 | 0.0393 | 567 | 1 440 | Dy_auto
50 | 726 | 28.5 | 0.0393 | 563 | 1 430 | Dy_auto
51 | 721 | 28.3 | 0.0392 | 559 | 1 420 | Dy_auto
52 | 715 | 28.1 | 0.0393 | 554 | 1 410 | Dy_auto
53 | 710 | 27.9 | 0.0393 | 550 | 1 400 | Dy_auto
54 | 704 | 27.7 | 0.0393 | 546 | 1 390 | Dy_auto
55 | 698 | 27.4 | 0.0393 | 541 | 1 370 | Dy_auto
56 | 693 | 27.2 | 0.0393 | 537 | 1 360 | Dy_auto
57 | 687 | 27 | 0.0393 | 533 | 1 350 | Dy_auto
58 | 682 | 26.8 | 0.0393 | 528 | 1 340 | Dy_auto
59 | 676 | 26.6 | 0.0394 | 524 | 1 330 | Dy_auto
60 | 670 | 26.4 | 0.0394 | 520 | 1 320 | Dy_auto
61 | 665 | 26.2 | 0.0394 | 515 | 1 310 | Dy_auto
62 | 659 | 26 | 0.0394 | 511 | 1 300 | Dy_auto
63 | 654 | 25.8 | 0.0394 | 507 | 1 290 | Dy_auto
64 | 648 | 25.5 | 0.0394 | 502 | 1 280 | Dy_auto
65 | 642 | 25.4 | 0.0395 | 498 | 1 270 | Dy_auto
66 | 637 | 25.1 | 0.0395 | 494 | 1 260 | Dy_auto
67 | 631 | 24.9 | 0.0395 | 489 | 1 250 | Dy_auto
68 | 626 | 24.7 | 0.0395 | 485 | 1 240 | Dy_auto
69 | 620 | 24.5 | 0.0395 | 481 | 1 230 | Dy_auto
70 | 615 | 24.3 | 0.0396 | 476 | 1 220 | Dy_auto
71 | 609 | 24.1 | 0.0396 | 472 | 1 210 | Dy_auto
72 | 603 | 23.9 | 0.0396 | 468 | 1 200 | Dy_auto
73 | 598 | 23.7 | 0.0396 | 463 | 1 190 | Dy_auto
74 | 592 | 23.5 | 0.0397 | 459 | 1 180 | Dy_auto
75 | 587 | 23.3 | 0.0397 | 455 | 1 170 | Dy_auto
76 | 581 | 23.1 | 0.0397 | 451 | 1 160 | Dy_auto
77 | 575 | 22.9 | 0.0397 | 446 | 1 150 | Dy_auto
78 | 570 | 22.7 | 0.0398 | 442 | 1 140 | Dy_auto
79 | 564 | 22.4 | 0.0398 | 437 | 1 120 | Dy_auto
80 | 559 | 22.3 | 0.0398 | 433 | 1 110 | Dy_auto
81 | 553 | 22 | 0.0398 | 429 | 1 100 | Dy_auto
82 | 548 | 21.8 | 0.0399 | 424 | 1 090 | Dy_auto
83 | 542 | 21.6 | 0.0399 | 420 | 1 080 | Dy_auto
84 | 536 | 21.4 | 0.0399 | 416 | 1 070 | Dy_auto
85 | 531 | 21.2 | 0.04 | 412 | 1 060 | Dy_auto
86 | 525 | 21 | 0.04 | 407 | 1 050 | Dy_auto
87 | 520 | 20.8 | 0.04 | 403 | 1 040 | Dy_auto
88 | 514 | 20.6 | 0.0401 | 399 | 1 030 | Dy_auto
89 | 508 | 20.4 | 0.0401 | 394 | 1 020 | Dy_auto
90 | 503 | 20.2 | 0.0401 | 390 | 1 010 | Dy_auto
91 | 497 | 20 | 0.0402 | 386 | 1 000 | Dy_auto
92 | 492 | 19.8 | 0.0402 | 381 | 991 | Dy_auto
93 | 486 | 19.5 | 0.0402 | 377 | 979 | Dy_auto
94 | 481 | 19.4 | 0.0403 | 373 | 970 | Dy_auto
95 | 475 | 19.1 | 0.0403 | 368 | 959 | Dy_auto
96 | 469 | 18.9 | 0.0404 | 364 | 949 | Dy_auto
97 | 464 | 18.7 | 0.0404 | 360 | 939 | Dy_auto
98 | 458 | 18.5 | 0.0405 | 355 | 929 | Dy_auto
99 | 453 | 18.3 | 0.0405 | 351 | 918 | Dy_auto
100 | 447 | 18.1 | 0.0405 | 347 | 908 | Dy_auto
101 | 441 | 17.9 | 0.0406 | 342 | 898 | Dy_auto
102 | 436 | 17.7 | 0.0407 | 338 | 888 | Dy_auto
103 | 430 | 17.5 | 0.0407 | 334 | 878 | Dy_auto
104 | 425 | 17.3 | 0.0408 | 329 | 867 | Dy_auto
105 | 419 | 17.1 | 0.0409 | 325 | 858 | Dy_auto
106 | 413 | 16.9 | 0.0409 | 321 | 847 | Dy_auto
107 | 408 | 16.7 | 0.0409 | 316 | 836 | Dy_auto
108 | 402 | 16.5 | 0.041 | 312 | 826 | Dy_auto
109 | 397 | 16.3 | 0.0411 | 308 | 816 | Dy_auto
110 | 391 | 16.1 | 0.0411 | 303 | 806 | Dy_auto
111 | 386 | 15.9 | 0.0412 | 299 | 796 | Dy_auto
112 | 380 | 15.7 | 0.0413 | 295 | 785 | Dy_auto
113 | 374 | 15.5 | 0.0413 | 290 | 775 | Dy_auto
114 | 369 | 15.3 | 0.0414 | 286 | 766 | Dy_auto
115 | 363 | 15.1 | 0.0415 | 282 | 754 | Dy_auto
116 | 358 | 14.9 | 0.0415 | 277 | 744 | Dy_auto
117 | 352 | 14.7 | 0.0417 | 273 | 735 | Dy_auto
118 | 346 | 14.5 | 0.0418 | 269 | 725 | Dy_auto
119 | 341 | 14.2 | 0.0418 | 264 | 714 | Dy_auto
120 | 335 | 14.1 | 0.0419 | 260 | 704 | Dy_auto
121 | 330 | 13.9 | 0.0421 | 256 | 695 | Dy_auto
122 | 324 | 13.7 | 0.0421 | 251 | 684 | Dy_auto
123 | 319 | 13.4 | 0.0422 | 247 | 674 | Dy_auto
124 | 313 | 13.3 | 0.0423 | 243 | 664 | Dy_auto
125 | 307 | 13.1 | 0.0425 | 238 | 654 | Dy_auto
126 | 302 | 12.9 | 0.0426 | 234 | 644 | Dy_auto
127 | 296 | 12.6 | 0.0427 | 230 | 633 | Dy_auto
128 | 291 | 12.4 | 0.0428 | 225 | 623 | Dy_auto
129 | 285 | 12.2 | 0.0429 | 221 | 613 | Dy_auto
130 | 279 | 12.1 | 0.0431 | 217 | 604 | Dy_auto
131 | 274 | 11.9 | 0.0433 | 212 | 594 | Dy_auto
132 | 268 | 11.7 | 0.0435 | 208 | 584 | Dy_auto
133 | 263 | 11.5 | 0.0436 | 204 | 574 | Dy_auto
134 | 257 | 11.2 | 0.0437 | 199 | 562 | Dy_auto
135 | 251 | 11 | 0.0439 | 195 | 553 | Dy_auto
136 | 246 | 10.8 | 0.0441 | 191 | 543 | Dy_auto
137 | 240 | 10.6 | 0.0443 | 186 | 533 | Dy_auto
138 | 235 | 10.4 | 0.0445 | 182 | 523 | Dy_auto
139 | 229 | 10.2 | 0.0447 | 178 | 513 | Dy_auto
140 | 224 | 10 | 0.0449 | 173 | 503 | Dy_auto
141 | 218 | 9.83 | 0.0451 | 169 | 492 | Dy_auto
142 | 212 | 9.63 | 0.0453 | 165 | 482 | Dy_auto
143 | 207 | 9.43 | 0.0456 | 160 | 472 | Dy_auto
144 | 201 | 9.23 | 0.0459 | 156 | 463 | Dy_auto
145 | 196 | 9.03 | 0.0462 | 152 | 452 | Dy_auto
146 | 190 | 8.83 | 0.0465 | 147 | 442 | Dy_auto
147 | 184 | 8.62 | 0.0467 | 143 | 432 | Dy_auto
148 | 179 | 8.41 | 0.047 | 139 | 421 | Dy_auto
149 | 173 | 8.21 | 0.0474 | 134 | 411 | Dy_auto
150 | 168 | 8 | 0.0477 | 130 | 401 | Dy_auto
151 | 162 | 7.8 | 0.0481 | 126 | 391 | Dy_auto
152 | 157 | 7.6 | 0.0485 | 121 | 381 | Dy_auto
153 | 151 | 7.39 | 0.049 | 117 | 370 | Dy_auto
154 | 145 | 7.18 | 0.0494 | 113 | 360 | Dy_auto
155 | 140 | 6.97 | 0.0499 | 108 | 349 | Dy_auto
156 | 134 | 6.77 | 0.0505 | 104 | 339 | Dy_auto
157 | 129 | 6.55 | 0.051 | 99.7 | 328 | Dy_auto
158 | 123 | 6.35 | 0.0516 | 95.4 | 318 | Dy_auto
159 | 117 | 6.14 | 0.0523 | 91 | 307 | Dy_auto
160 | 112 | 5.92 | 0.053 | 86.7 | 297 | Dy_auto
161 | 106 | 5.71 | 0.0537 | 82.4 | 286 | Dy_auto
162 | 101 | 5.49 | 0.0546 | 78 | 275 | Dy_auto
163 | 95.1 | 5.27 | 0.0555 | 73.7 | 264 | Dy_auto
164 | 89.5 | 5.06 | 0.0565 | 69.4 | 253 | Dy_auto
165 | 83.9 | 4.83 | 0.0576 | 65 | 242 | Dy_auto
166 | 78.3 | 4.61 | 0.0589 | 60.7 | 231 | Dy_auto
167 | 72.7 | 4.38 | 0.0603 | 56.4 | 219 | Dy_auto
168 | 67.1 | 4.15 | 0.0618 | 52 | 208 | Dy_auto
169 | 61.5 | 3.91 | 0.0636 | 47.7 | 196 | Dy_auto
170 | 56 | 3.68 | 0.0658 | 43.4 | 184 | Dy_auto
171 | 50.4 | 3.43 | 0.0681 | 39.1 | 172 | Dy_auto
172 | 44.8 | 3.18 | 0.071 | 34.7 | 159 | Dy_auto
173 | 39.2 | 2.92 | 0.0745 | 30.4 | 146 | Dy_auto
174 | 33.6 | 2.65 | 0.0789 | 26.1 | 133 | Dy_auto
175 | 28 | 2.38 | 0.0849 | 21.7 | 119 | Dy_auto
176 | 22.4 | 2.09 | 0.0933 | 17.4 | 105 | Dy_auto
177 | 16.9 | 1.76 | 0.104 | 13.1 | 88.1 | Dy_auto
178 | 11.3 | 1.4 | 0.124 | 8.74 | 70.2 | Dy_auto
179 | 5.69 | 0.974 | 0.171 | 4.41 | 48.8 | Dy_auto
180 | 0.1 | 0.0677 | 0.677 | 0.0775 | 3.39 | Dy_auto
Interval: |  |  | 3
Number of Data Points: |  |  | 180
Time Setting: |  |  | 180 Meas. Pts., Reset Strain
Meas. Pt. Duration 2 s
Measuring Profile:
Shear Rate |  |  | d(gamma)/dt = 0,1 ... 1 000 1/s lin
Meas. Pts. | Shear Rate | Shear Stress | Viscosity | Speed | Torque | Status
| [1/s] | [Pa] | [Pa·s] | [1/min] | [µNm] | []
1 | 0.1 | 0.0997 | 0.997 | 0.0775 | 4.99 | Dy_auto
2 | 5.69 | 1.08 | 0.19 | 4.41 | 54.2 | Dy_auto
3 | 11.3 | 1.51 | 0.134 | 8.74 | 75.8 | Dy_auto
4 | 16.9 | 1.86 | 0.111 | 13.1 | 93.4 | Dy_auto
5 | 22.4 | 2.19 | 0.0976 | 17.4 | 110 | Dy_auto
6 | 28 | 2.48 | 0.0887 | 21.7 | 124 | Dy_auto
7 | 33.6 | 2.75 | 0.0819 | 26.1 | 138 | Dy_auto
8 | 39.2 | 3.01 | 0.0769 | 30.4 | 151 | Dy_auto
9 | 44.8 | 3.27 | 0.0731 | 34.7 | 164 | Dy_auto
10 | 50.4 | 3.52 | 0.0699 | 39 | 176 | Dy_auto
11 | 55.9 | 3.75 | 0.0671 | 43.4 | 188 | Dy_auto
12 | 61.5 | 3.99 | 0.0649 | 47.7 | 200 | Dy_auto
13 | 67.1 | 4.22 | 0.0629 | 52 | 212 | Dy_auto
14 | 72.7 | 4.45 | 0.0612 | 56.4 | 223 | Dy_auto
15 | 78.3 | 4.68 | 0.0597 | 60.7 | 234 | Dy_auto
16 | 83.9 | 4.9 | 0.0584 | 65 | 245 | Dy_auto
17 | 89.5 | 5.12 | 0.0572 | 69.4 | 256 | Dy_auto
18 | 95.1 | 5.34 | 0.0561 | 73.7 | 267 | Dy_auto
19 | 101 | 5.55 | 0.0552 | 78 | 278 | Dy_auto
20 | 106 | 5.77 | 0.0543 | 82.4 | 289 | Dy_auto
21 | 112 | 5.98 | 0.0535 | 86.7 | 300 | Dy_auto
22 | 117 | 6.19 | 0.0527 | 91 | 310 | Dy_auto
23 | 123 | 6.4 | 0.0521 | 95.4 | 321 | Dy_auto
24 | 129 | 6.62 | 0.0515 | 99.7 | 331 | Dy_auto
25 | 134 | 6.82 | 0.0509 | 104 | 342 | Dy_auto
26 | 140 | 7.03 | 0.0503 | 108 | 352 | Dy_auto
27 | 145 | 7.24 | 0.0498 | 113 | 363 | Dy_auto
28 | 151 | 7.45 | 0.0493 | 117 | 373 | Dy_auto
29 | 157 | 7.65 | 0.0489 | 121 | 383 | Dy_auto
30 | 162 | 7.86 | 0.0485 | 126 | 394 | Dy_auto
31 | 168 | 8.06 | 0.0481 | 130 | 404 | Dy_auto
32 | 173 | 8.28 | 0.0478 | 134 | 414 | Dy_auto
33 | 179 | 8.47 | 0.0474 | 139 | 424 | Dy_auto
34 | 184 | 8.69 | 0.0471 | 143 | 435 | Dy_auto
35 | 190 | 8.9 | 0.0468 | 147 | 446 | Dy_auto
36 | 196 | 9.11 | 0.0466 | 152 | 456 | Dy_auto
37 | 201 | 9.3 | 0.0462 | 156 | 466 | Dy_auto
38 | 207 | 9.5 | 0.0459 | 160 | 476 | Dy_auto
39 | 212 | 9.71 | 0.0457 | 165 | 487 | Dy_auto
40 | 218 | 9.91 | 0.0455 | 169 | 496 | Dy_auto
41 | 224 | 10.1 | 0.0452 | 173 | 507 | Dy_auto
42 | 229 | 10.3 | 0.045 | 178 | 517 | Dy_auto
43 | 235 | 10.5 | 0.0448 | 182 | 527 | Dy_auto
44 | 240 | 10.7 | 0.0446 | 186 | 537 | Dy_auto
45 | 246 | 10.9 | 0.0444 | 191 | 547 | Dy_auto
46 | 251 | 11.1 | 0.0442 | 195 | 557 | Dy_auto
47 | 257 | 11.3 | 0.044 | 199 | 567 | Dy_auto
48 | 263 | 11.5 | 0.0439 | 204 | 578 | Dy_auto
49 | 268 | 11.7 | 0.0437 | 208 | 588 | Dy_auto
50 | 274 | 11.9 | 0.0436 | 212 | 598 | Dy_auto
51 | 279 | 12.1 | 0.0434 | 217 | 608 | Dy_auto
52 | 285 | 12.3 | 0.0432 | 221 | 617 | Dy_auto
53 | 291 | 12.5 | 0.0431 | 225 | 628 | Dy_auto
54 | 296 | 12.7 | 0.0429 | 230 | 637 | Dy_auto
55 | 302 | 12.9 | 0.0428 | 234 | 647 | Dy_auto
56 | 307 | 13.1 | 0.0427 | 238 | 658 | Dy_auto
57 | 313 | 13.3 | 0.0426 | 243 | 668 | Dy_auto
58 | 319 | 13.5 | 0.0425 | 247 | 678 | Dy_auto
59 | 324 | 13.7 | 0.0424 | 251 | 688 | Dy_auto
60 | 330 | 13.9 | 0.0422 | 256 | 698 | Dy_auto
61 | 335 | 14.1 | 0.0421 | 260 | 707 | Dy_auto
62 | 341 | 14.3 | 0.0421 | 264 | 718 | Dy_auto
63 | 346 | 14.5 | 0.042 | 269 | 729 | Dy_auto
64 | 352 | 14.7 | 0.0419 | 273 | 739 | Dy_auto
65 | 358 | 14.9 | 0.0417 | 277 | 748 | Dy_auto
66 | 363 | 15.1 | 0.0416 | 282 | 758 | Dy_auto
67 | 369 | 15.3 | 0.0416 | 286 | 769 | Dy_auto
68 | 374 | 15.5 | 0.0415 | 290 | 778 | Dy_auto
69 | 380 | 15.7 | 0.0414 | 295 | 788 | Dy_auto
70 | 386 | 15.9 | 0.0413 | 299 | 798 | Dy_auto
71 | 391 | 16.1 | 0.0413 | 303 | 808 | Dy_auto
72 | 397 | 16.3 | 0.0412 | 308 | 818 | Dy_auto
73 | 402 | 16.5 | 0.0411 | 312 | 828 | Dy_auto
74 | 408 | 16.8 | 0.0411 | 316 | 839 | Dy_auto
75 | 413 | 16.9 | 0.041 | 321 | 849 | Dy_auto
76 | 419 | 17.1 | 0.0409 | 325 | 858 | Dy_auto
77 | 425 | 17.3 | 0.0408 | 329 | 868 | Dy_auto
78 | 430 | 17.5 | 0.0407 | 334 | 878 | Dy_auto
79 | 436 | 17.8 | 0.0407 | 338 | 889 | Dy_auto
80 | 441 | 18 | 0.0407 | 342 | 900 | Dy_auto
81 | 447 | 18.1 | 0.0406 | 347 | 909 | Dy_auto
82 | 453 | 18.4 | 0.0406 | 351 | 919 | Dy_auto
83 | 458 | 18.6 | 0.0405 | 355 | 930 | Dy_auto
84 | 464 | 18.8 | 0.0405 | 360 | 940 | Dy_auto
85 | 469 | 19 | 0.0404 | 364 | 950 | Dy_auto
86 | 475 | 19.2 | 0.0404 | 368 | 961 | Dy_auto
87 | 480 | 19.4 | 0.0403 | 373 | 970 | Dy_auto
88 | 486 | 19.6 | 0.0403 | 377 | 981 | Dy_auto
89 | 492 | 19.8 | 0.0402 | 381 | 990 | Dy_auto
90 | 497 | 20 | 0.0402 | 386 | 1 000 | Dy_auto
91 | 503 | 20.2 | 0.0402 | 390 | 1 010 | Dy_auto
92 | 508 | 20.4 | 0.0401 | 394 | 1 020 | Dy_auto
93 | 514 | 20.6 | 0.04 | 399 | 1 030 | Dy_auto
94 | 520 | 20.8 | 0.0401 | 403 | 1 040 | Dy_auto
95 | 525 | 21 | 0.04 | 407 | 1 050 | Dy_auto
96 | 531 | 21.2 | 0.04 | 412 | 1 060 | Dy_auto
97 | 536 | 21.4 | 0.0399 | 416 | 1 070 | Dy_auto
98 | 542 | 21.6 | 0.0399 | 420 | 1 080 | Dy_auto
99 | 548 | 21.8 | 0.0398 | 425 | 1 090 | Dy_auto
100 | 553 | 22 | 0.0398 | 429 | 1 100 | Dy_auto
101 | 559 | 22.2 | 0.0398 | 433 | 1 110 | Dy_auto
102 | 564 | 22.4 | 0.0397 | 437 | 1 120 | Dy_auto
103 | 570 | 22.6 | 0.0397 | 442 | 1 130 | Dy_auto
104 | 575 | 22.8 | 0.0397 | 446 | 1 140 | Dy_auto
105 | 581 | 23 | 0.0396 | 451 | 1 150 | Dy_auto
106 | 587 | 23.2 | 0.0396 | 455 | 1 160 | Dy_auto
107 | 592 | 23.4 | 0.0396 | 459 | 1 170 | Dy_auto
108 | 598 | 23.7 | 0.0396 | 463 | 1 190 | Dy_auto
109 | 603 | 23.8 | 0.0395 | 468 | 1 190 | Dy_auto
110 | 609 | 24.1 | 0.0395 | 472 | 1 200 | Dy_auto
111 | 615 | 24.3 | 0.0395 | 476 | 1 220 | Dy_auto
112 | 620 | 24.5 | 0.0395 | 481 | 1 230 | Dy_auto
113 | 626 | 24.7 | 0.0394 | 485 | 1 240 | Dy_auto
114 | 631 | 24.9 | 0.0394 | 489 | 1 250 | Dy_auto
115 | 637 | 25.1 | 0.0394 | 494 | 1 260 | Dy_auto
116 | 642 | 25.3 | 0.0394 | 498 | 1 270 | Dy_auto
117 | 648 | 25.5 | 0.0393 | 502 | 1 280 | Dy_auto
118 | 654 | 25.7 | 0.0393 | 507 | 1 290 | Dy_auto
119 | 659 | 25.9 | 0.0393 | 511 | 1 300 | Dy_auto
120 | 665 | 26.1 | 0.0393 | 515 | 1 310 | Dy_auto
121 | 670 | 26.3 | 0.0393 | 520 | 1 320 | Dy_auto
122 | 676 | 26.5 | 0.0392 | 524 | 1 330 | Dy_auto
123 | 682 | 26.7 | 0.0392 | 528 | 1 340 | Dy_auto
124 | 687 | 26.9 | 0.0392 | 533 | 1 350 | Dy_auto
125 | 693 | 27.1 | 0.0391 | 537 | 1 360 | Dy_auto
126 | 698 | 27.3 | 0.0391 | 541 | 1 370 | Dy_auto
127 | 704 | 27.5 | 0.0391 | 546 | 1 380 | Dy_auto
128 | 710 | 27.7 | 0.0391 | 550 | 1 390 | Dy_auto
129 | 715 | 28 | 0.0391 | 554 | 1 400 | Dy_auto
130 | 721 | 28.1 | 0.039 | 559 | 1 410 | Dy_auto
131 | 726 | 28.3 | 0.039 | 563 | 1 420 | Dy_auto
132 | 732 | 28.6 | 0.039 | 567 | 1 430 | Dy_auto
133 | 737 | 28.8 | 0.039 | 572 | 1 440 | Dy_auto
134 | 743 | 29 | 0.039 | 576 | 1 450 | Dy_auto
135 | 749 | 29.2 | 0.039 | 580 | 1 460 | Dy_auto
136 | 754 | 29.4 | 0.039 | 585 | 1 470 | Dy_auto
137 | 760 | 29.6 | 0.039 | 589 | 1 480 | Dy_auto
138 | 765 | 29.8 | 0.0389 | 593 | 1 490 | Dy_auto
139 | 771 | 30 | 0.0389 | 598 | 1 500 | Dy_auto
140 | 777 | 30.2 | 0.0389 | 602 | 1 510 | Dy_auto
141 | 782 | 30.4 | 0.0389 | 606 | 1 520 | Dy_auto
142 | 788 | 30.6 | 0.0389 | 611 | 1 530 | Dy_auto
143 | 793 | 30.9 | 0.0389 | 615 | 1 550 | Dy_auto
144 | 799 | 31 | 0.0389 | 619 | 1 560 | Dy_auto
145 | 804 | 31.3 | 0.0389 | 624 | 1 570 | Dy_auto
146 | 810 | 31.5 | 0.0389 | 628 | 1 580 | Dy_auto
147 | 816 | 31.7 | 0.0389 | 632 | 1 590 | Dy_auto
148 | 821 | 31.9 | 0.0388 | 637 | 1 600 | Dy_auto
149 | 827 | 32.1 | 0.0388 | 641 | 1 610 | Dy_auto
150 | 832 | 32.3 | 0.0388 | 645 | 1 620 | Dy_auto
151 | 838 | 32.5 | 0.0388 | 650 | 1 630 | Dy_auto
152 | 844 | 32.7 | 0.0388 | 654 | 1 640 | Dy_auto
153 | 849 | 33 | 0.0388 | 658 | 1 650 | Dy_auto
154 | 855 | 33.2 | 0.0388 | 663 | 1 660 | Dy_auto
155 | 860 | 33.4 | 0.0388 | 667 | 1 670 | Dy_auto
156 | 866 | 33.6 | 0.0388 | 671 | 1 680 | Dy_auto
157 | 872 | 33.8 | 0.0388 | 676 | 1 690 | Dy_auto
158 | 877 | 34 | 0.0388 | 680 | 1 700 | Dy_auto
159 | 883 | 34.2 | 0.0387 | 684 | 1 710 | Dy_auto
160 | 888 | 34.4 | 0.0387 | 689 | 1 720 | Dy_auto
161 | 894 | 34.6 | 0.0387 | 693 | 1 730 | Dy_auto
162 | 899 | 34.8 | 0.0387 | 697 | 1 740 | Dy_auto
163 | 905 | 35.1 | 0.0388 | 702 | 1 760 | Dy_auto
164 | 911 | 35.3 | 0.0387 | 706 | 1 770 | Dy_auto
165 | 916 | 35.5 | 0.0387 | 710 | 1 780 | Dy_auto
166 | 922 | 35.7 | 0.0387 | 715 | 1 790 | Dy_auto
167 | 927 | 35.9 | 0.0387 | 719 | 1 800 | Dy_auto
168 | 933 | 36.1 | 0.0387 | 723 | 1 810 | Dy_auto
169 | 939 | 36.3 | 0.0387 | 728 | 1 820 | Dy_auto
170 | 944 | 36.5 | 0.0387 | 732 | 1 830 | Dy_auto
171 | 950 | 36.7 | 0.0387 | 736 | 1 840 | Dy_auto
172 | 955 | 37 | 0.0387 | 741 | 1 850 | Dy_auto
173 | 961 | 37.2 | 0.0387 | 745 | 1 860 | Dy_auto
174 | 966 | 37.4 | 0.0387 | 749 | 1 870 | Dy_auto
175 | 972 | 37.6 | 0.0387 | 754 | 1 880 | Dy_auto
176 | 978 | 37.8 | 0.0387 | 758 | 1 890 | Dy_auto
177 | 983 | 38 | 0.0386 | 762 | 1 900 | Dy_auto
178 | 989 | 38.2 | 0.0387 | 767 | 1 920 | Dy_auto
179 | 994 | 38.4 | 0.0386 | 771 | 1 920 | Dy_auto
180 | 1000 | 38.6 | 0.0386 | 775 | 1 940 | Dy_auto

## Test 1 XG CC24
Data Series Information
Name: |  |  | cc24xg 1
Sample: |  |  | xg
Operator: |  |  | m
Number of Intervals: |  |  | 3
Application: |  |  | RHEOPLUS/32 V3.62 21006576-33024
Device: |  |  | MCR302 SN81236725; FW4.53; Slot(12,-1); Adj(183,0)d
Measuring Date/Time: |  |  | 06.06.2024; 11:02 p.m.
Measuring System: |  |  | CC24.58-0-50/P6-SN31304
Accessories: |  |  | TU1=C-PTD200-SN81251872
Interval: |  |  | 1
Number of Data Points: |  |  | 120
Time Setting: |  |  | 120 Meas. Pts.
Meas. Pt. Duration 1 s
Measuring Profile:
Shear Rate |  |  | d(gamma)/dt = 1 000 1/s
Meas. Pts. | Shear Rate | Shear Stress | Viscosity | Speed | Torque | Status
| [1/s] | [Pa] | [Pa·s] | [1/min] | [µNm] | []
1 | 1 000 | 31.1 | 0.0311 | 1 540 | 2 100 | Dy_auto
2 | 1 000 | 29.8 | 0.0298 | 1 540 | 2 020 | Dy_auto
3 | 1 000 | 29 | 0.029 | 1 540 | 1 960 | Dy_auto
4 | 1 000 | 29.6 | 0.0296 | 1 540 | 2 000 | Dy_auto
5 | 1 000 | 29.4 | 0.0294 | 1 540 | 1 990 | Dy_auto
6 | 1 000 | 29.5 | 0.0295 | 1 540 | 1 990 | Dy_auto |  | Removed higher shear rates
7 | 1 000 | 29.4 | 0.0294 | 1 540 | 1 990 | Dy_auto
8 | 1 000 | 29.4 | 0.0294 | 1 540 | 1 990 | Dy_auto
9 | 1 000 | 29.1 | 0.0291 | 1 540 | 1 970 | Dy_auto
10 | 1 000 | 29.3 | 0.0293 | 1 540 | 1 980 | Dy_auto
11 | 1 000 | 29.9 | 0.0299 | 1 540 | 2 020 | Dy_auto
12 | 1 000 | 29.3 | 0.0293 | 1 540 | 1 990 | Dy_auto
13 | 1 000 | 29.4 | 0.0294 | 1 540 | 1 990 | Dy_auto
14 | 1 000 | 29.3 | 0.0293 | 1 540 | 1 980 | Dy_auto
15 | 1 000 | 29.1 | 0.0291 | 1 540 | 1 970 | Dy_auto
16 | 1 000 | 29.1 | 0.0291 | 1 540 | 1 970 | Dy_auto
17 | 1 000 | 28.7 | 0.0287 | 1 540 | 1 950 | Dy_auto
18 | 1 000 | 28.7 | 0.0287 | 1 540 | 1 940 | Dy_auto
19 | 1 000 | 28.3 | 0.0283 | 1 540 | 1 920 | Dy_auto
20 | 1 000 | 28.7 | 0.0287 | 1 540 | 1 940 | Dy_auto
21 | 1 000 | 28.7 | 0.0287 | 1 540 | 1 940 | Dy_auto
22 | 1 000 | 28.6 | 0.0286 | 1 540 | 1 940 | Dy_auto
23 | 1 000 | 28.9 | 0.0289 | 1 540 | 1 960 | Dy_auto
24 | 1 000 | 29 | 0.029 | 1 540 | 1 960 | Dy_auto
25 | 1 000 | 28.8 | 0.0288 | 1 540 | 1 950 | Dy_auto
26 | 1 000 | 28.6 | 0.0286 | 1 540 | 1 940 | Dy_auto
27 | 1 000 | 28.9 | 0.0289 | 1 540 | 1 950 | Dy_auto
28 | 1 000 | 28.6 | 0.0286 | 1 540 | 1 930 | Dy_auto
29 | 1 000 | 28.4 | 0.0284 | 1 540 | 1 920 | Dy_auto
30 | 1 000 | 28.3 | 0.0283 | 1 540 | 1 910 | Dy_auto
31 | 1 000 | 28.3 | 0.0283 | 1 540 | 1 920 | Dy_auto
32 | 1 000 | 28.6 | 0.0286 | 1 540 | 1 930 | Dy_auto
33 | 1 000 | 28.5 | 0.0285 | 1 540 | 1 930 | Dy_auto
34 | 1 000 | 28.3 | 0.0283 | 1 540 | 1 920 | Dy_auto
35 | 1 000 | 28.7 | 0.0287 | 1 540 | 1 940 | Dy_auto
36 | 1 000 | 28.9 | 0.0289 | 1 540 | 1 960 | Dy_auto
37 | 1 000 | 28.7 | 0.0287 | 1 540 | 1 940 | Dy_auto
38 | 1 000 | 28.6 | 0.0286 | 1 540 | 1 930 | Dy_auto
39 | 1 000 | 28.8 | 0.0288 | 1 540 | 1 950 | Dy_auto
40 | 1 000 | 28.6 | 0.0286 | 1 540 | 1 930 | Dy_auto
41 | 1 000 | 28.7 | 0.0287 | 1 540 | 1 940 | Dy_auto
42 | 1 000 | 28.7 | 0.0287 | 1 540 | 1 940 | Dy_auto
43 | 1 000 | 28.4 | 0.0284 | 1 540 | 1 920 | Dy_auto
44 | 1 000 | 28.6 | 0.0286 | 1 540 | 1 940 | Dy_auto
45 | 1 000 | 28.4 | 0.0284 | 1 540 | 1 920 | Dy_auto
46 | 1 000 | 28.3 | 0.0283 | 1 540 | 1 920 | Dy_auto
47 | 1 000 | 28.3 | 0.0283 | 1 540 | 1 920 | Dy_auto
48 | 1 000 | 28 | 0.028 | 1 540 | 1 890 | Dy_auto
49 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
50 | 1 000 | 27.6 | 0.0276 | 1 540 | 1 870 | Dy_auto
51 | 1 000 | 27.6 | 0.0276 | 1 540 | 1 870 | Dy_auto
52 | 1 000 | 27.6 | 0.0276 | 1 540 | 1 870 | Dy_auto
53 | 1 000 | 27.4 | 0.0274 | 1 540 | 1 860 | Dy_auto
54 | 1 000 | 27.5 | 0.0275 | 1 540 | 1 860 | Dy_auto
55 | 1 000 | 27.1 | 0.0271 | 1 540 | 1 840 | Dy_auto
56 | 1 000 | 27.1 | 0.0271 | 1 540 | 1 830 | Dy_auto
57 | 1 000 | 27 | 0.027 | 1 540 | 1 830 | Dy_auto
58 | 1 000 | 27.1 | 0.0271 | 1 540 | 1 830 | Dy_auto
59 | 1 000 | 27.5 | 0.0275 | 1 540 | 1 860 | Dy_auto
60 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
61 | 1 000 | 28.2 | 0.0282 | 1 540 | 1 910 | Dy_auto
62 | 1 000 | 28.3 | 0.0283 | 1 540 | 1 920 | Dy_auto
63 | 1 000 | 28.4 | 0.0284 | 1 540 | 1 920 | Dy_auto
64 | 1 000 | 28.2 | 0.0282 | 1 540 | 1 910 | Dy_auto | Avg viscosity | 0.050232
65 | 1 000 | 28.2 | 0.0282 | 1 540 | 1 910 | Dy_auto
66 | 1 000 | 28.1 | 0.0281 | 1 540 | 1 900 | Dy_auto
67 | 1 000 | 28.1 | 0.0281 | 1 540 | 1 900 | Dy_auto
68 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
69 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
70 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
71 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
72 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
73 | 1 000 | 27.6 | 0.0276 | 1 540 | 1 870 | Dy_auto
74 | 1 000 | 27.7 | 0.0277 | 1 540 | 1 870 | Dy_auto
75 | 1 000 | 27.7 | 0.0277 | 1 540 | 1 870 | Dy_auto
76 | 1 000 | 27.7 | 0.0277 | 1 540 | 1 870 | Dy_auto
77 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
78 | 1 000 | 27.7 | 0.0277 | 1 540 | 1 870 | Dy_auto
79 | 1 000 | 27.7 | 0.0277 | 1 540 | 1 880 | Dy_auto
80 | 1 000 | 27.7 | 0.0277 | 1 540 | 1 880 | Dy_auto
81 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 880 | Dy_auto
82 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
83 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
84 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
85 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
86 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
87 | 1 000 | 28 | 0.028 | 1 540 | 1 890 | Dy_auto
88 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
89 | 1 000 | 28 | 0.028 | 1 540 | 1 900 | Dy_auto
90 | 1 000 | 28.2 | 0.0282 | 1 540 | 1 910 | Dy_auto
91 | 1 000 | 28.2 | 0.0282 | 1 540 | 1 910 | Dy_auto
92 | 1 000 | 28 | 0.028 | 1 540 | 1 900 | Dy_auto
93 | 1 000 | 28.1 | 0.0281 | 1 540 | 1 900 | Dy_auto
94 | 1 000 | 28 | 0.028 | 1 540 | 1 890 | Dy_auto
95 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
96 | 1 000 | 28 | 0.028 | 1 540 | 1 890 | Dy_auto
97 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
98 | 1 000 | 28 | 0.028 | 1 540 | 1 890 | Dy_auto
99 | 1 000 | 28.1 | 0.0281 | 1 540 | 1 900 | Dy_auto
100 | 1 000 | 28 | 0.028 | 1 540 | 1 900 | Dy_auto
101 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
102 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 880 | Dy_auto
103 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
104 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
105 | 1 000 | 28 | 0.028 | 1 540 | 1 890 | Dy_auto
106 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
107 | 1 000 | 28.1 | 0.0281 | 1 540 | 1 900 | Dy_auto
108 | 1 000 | 28.1 | 0.0281 | 1 540 | 1 900 | Dy_auto
109 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
110 | 1 000 | 28 | 0.028 | 1 540 | 1 900 | Dy_auto
111 | 1 000 | 28 | 0.028 | 1 540 | 1 890 | Dy_auto
112 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
113 | 1 000 | 28 | 0.028 | 1 540 | 1 900 | Dy_auto
114 | 1 000 | 28.1 | 0.0281 | 1 540 | 1 900 | Dy_auto
115 | 1 000 | 28 | 0.028 | 1 540 | 1 900 | Dy_auto
116 | 1 000 | 27.9 | 0.0279 | 1 540 | 1 890 | Dy_auto
117 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
118 | 1 000 | 27.7 | 0.0277 | 1 540 | 1 880 | Dy_auto
119 | 1 000 | 27.8 | 0.0278 | 1 540 | 1 880 | Dy_auto
120 | 1 000 | 27.7 | 0.0277 | 1 540 | 1 880 | Dy_auto
Interval: |  |  | 2
Number of Data Points: |  |  | 180
Time Setting: |  |  | 180 Meas. Pts.
Meas. Pt. Duration 2 s
Measuring Profile:
Shear Rate |  |  | d(gamma)/dt = 1 000 ... 0,1 1/s lin
Meas. Pts. | Shear Rate | Shear Stress | Viscosity | Speed | Torque | Status
| [1/s] | [Pa] | [Pa·s] | [1/min] | [µNm] | []
1 | 1000 | 27.6 | 0.0276 | 1 540 | 1 870 | Dy_auto
2 | 994 | 27.4 | 0.0276 | 1 530 | 1 850 | Dy_auto
3 | 989 | 27.2 | 0.0275 | 1 520 | 1 840 | Dy_auto
4 | 983 | 26.8 | 0.0273 | 1 510 | 1 810 | Dy_auto
5 | 978 | 26.6 | 0.0272 | 1 500 | 1 800 | Dy_auto
6 | 972 | 26.4 | 0.0272 | 1 500 | 1 790 | Dy_auto
7 | 966 | 26.2 | 0.0271 | 1 490 | 1 770 | Dy_auto
8 | 961 | 26.1 | 0.0271 | 1 480 | 1 760 | Dy_auto
9 | 955 | 25.8 | 0.027 | 1 470 | 1 750 | Dy_auto
10 | 950 | 25.5 | 0.0269 | 1 460 | 1 730 | Dy_auto
11 | 944 | 25.2 | 0.0267 | 1 450 | 1 710 | Dy_auto
12 | 939 | 24.9 | 0.0265 | 1 440 | 1 690 | Dy_auto
13 | 933 | 25.5 | 0.0273 | 1 440 | 1 730 | Dy_auto
14 | 927 | 25.3 | 0.0273 | 1 430 | 1 710 | Dy_auto
15 | 922 | 25.1 | 0.0273 | 1 420 | 1 700 | Dy_auto
16 | 916 | 25 | 0.0273 | 1 410 | 1 690 | Dy_auto
17 | 911 | 24.9 | 0.0273 | 1 400 | 1 680 | Dy_auto
18 | 905 | 24.7 | 0.0272 | 1 390 | 1 670 | Dy_auto
19 | 899 | 24.4 | 0.0271 | 1 380 | 1 650 | Dy_auto
20 | 894 | 24.1 | 0.0269 | 1 380 | 1 630 | Dy_auto
21 | 888 | 23.9 | 0.0269 | 1 370 | 1 620 | Dy_auto
22 | 883 | 23.8 | 0.0269 | 1 360 | 1 610 | Dy_auto
23 | 877 | 23.5 | 0.0268 | 1 350 | 1 590 | Dy_auto
24 | 872 | 23.4 | 0.0268 | 1 340 | 1 580 | Dy_auto
25 | 866 | 23.1 | 0.0267 | 1 330 | 1 560 | Dy_auto
26 | 860 | 23.1 | 0.0268 | 1 320 | 1 560 | Dy_auto
27 | 855 | 22.7 | 0.0265 | 1 320 | 1 540 | Dy_auto
28 | 849 | 22.6 | 0.0266 | 1 310 | 1 530 | Dy_auto
29 | 844 | 22.3 | 0.0264 | 1 300 | 1 510 | Dy_auto
30 | 838 | 22 | 0.0262 | 1 290 | 1 490 | Dy_auto
31 | 832 | 21.8 | 0.0262 | 1 280 | 1 470 | Dy_auto
32 | 827 | 22 | 0.0266 | 1 270 | 1 490 | Dy_auto
33 | 821 | 21.8 | 0.0265 | 1 260 | 1 470 | Dy_auto
34 | 816 | 21.5 | 0.0264 | 1 260 | 1 460 | Dy_auto
35 | 810 | 21.1 | 0.026 | 1 250 | 1 420 | Dy_auto
36 | 804 | 20.9 | 0.026 | 1 240 | 1 420 | Dy_auto
37 | 799 | 20.7 | 0.0259 | 1 230 | 1 400 | Dy_auto
38 | 793 | 20.2 | 0.0255 | 1 220 | 1 370 | Dy_auto
39 | 788 | 19.9 | 0.0252 | 1 210 | 1 340 | Dy_auto
40 | 782 | 19.8 | 0.0253 | 1 200 | 1 340 | Dy_auto
41 | 777 | 19.7 | 0.0254 | 1 200 | 1 340 | Dy_auto
42 | 771 | 19.6 | 0.0255 | 1 190 | 1 330 | Dy_auto
43 | 765 | 19.4 | 0.0253 | 1 180 | 1 310 | Dy_auto
44 | 760 | 19.2 | 0.0252 | 1 170 | 1 300 | Dy_auto
45 | 754 | 18.8 | 0.025 | 1 160 | 1 270 | Dy_auto
46 | 749 | 18.7 | 0.025 | 1 150 | 1 270 | Dy_auto
47 | 743 | 18.8 | 0.0253 | 1 140 | 1 270 | Dy_auto
48 | 737 | 18.4 | 0.025 | 1 140 | 1 250 | Dy_auto
49 | 732 | 18.3 | 0.0249 | 1 130 | 1 240 | Dy_auto
50 | 726 | 17.9 | 0.0247 | 1 120 | 1 210 | Dy_auto
51 | 721 | 17.8 | 0.0247 | 1 110 | 1 200 | Dy_auto
52 | 715 | 17.6 | 0.0246 | 1 100 | 1 190 | Dy_auto
53 | 710 | 17.2 | 0.0243 | 1 090 | 1 170 | Dy_auto
54 | 704 | 17.2 | 0.0244 | 1 080 | 1 160 | Dy_auto
55 | 698 | 16.9 | 0.0243 | 1 070 | 1 150 | Dy_auto
56 | 693 | 16.7 | 0.0241 | 1 070 | 1 130 | Dy_auto
57 | 687 | 16.3 | 0.0237 | 1 060 | 1 100 | Dy_auto
58 | 682 | 16.2 | 0.0238 | 1 050 | 1 100 | Dy_auto
59 | 676 | 16.2 | 0.024 | 1 040 | 1 100 | Dy_auto
60 | 670 | 16.2 | 0.0242 | 1 030 | 1 100 | Dy_auto
61 | 665 | 16.1 | 0.0242 | 1 020 | 1 090 | Dy_auto
62 | 659 | 16 | 0.0243 | 1 010 | 1 080 | Dy_auto
63 | 654 | 16.1 | 0.0246 | 1 010 | 1 090 | Dy_auto
64 | 648 | 16 | 0.0248 | 998 | 1 090 | Dy_auto
65 | 643 | 15.9 | 0.0247 | 989 | 1 080 | Dy_auto
66 | 637 | 15.9 | 0.0249 | 980 | 1 070 | Dy_auto
67 | 631 | 16 | 0.0254 | 972 | 1 080 | Dy_auto
68 | 626 | 15.8 | 0.0252 | 963 | 1 070 | Dy_auto
69 | 620 | 15.7 | 0.0253 | 955 | 1 060 | Dy_auto
70 | 615 | 15.7 | 0.0256 | 946 | 1 060 | Dy_auto
71 | 609 | 15.6 | 0.0255 | 937 | 1 050 | Dy_auto
72 | 603 | 15.5 | 0.0256 | 929 | 1 050 | Dy_auto
73 | 598 | 15.4 | 0.0257 | 920 | 1 040 | Dy_auto
74 | 592 | 15.4 | 0.026 | 912 | 1 040 | Dy_auto
75 | 587 | 15.3 | 0.0261 | 903 | 1 040 | Dy_auto
76 | 581 | 15.3 | 0.0264 | 894 | 1 040 | Dy_auto
77 | 575 | 15.2 | 0.0265 | 886 | 1 030 | Dy_auto
78 | 570 | 15.2 | 0.0267 | 877 | 1 030 | Dy_auto
79 | 564 | 15.1 | 0.0268 | 869 | 1 020 | Dy_auto
80 | 559 | 15 | 0.0269 | 860 | 1 020 | Dy_auto
81 | 553 | 15 | 0.0271 | 851 | 1 020 | Dy_auto
82 | 548 | 15 | 0.0274 | 843 | 1 010 | Dy_auto
83 | 542 | 14.9 | 0.0275 | 834 | 1 010 | Dy_auto
84 | 536 | 14.7 | 0.0274 | 826 | 994 | Dy_auto
85 | 531 | 14.7 | 0.0277 | 817 | 996 | Dy_auto
86 | 525 | 14.7 | 0.0279 | 808 | 992 | Dy_auto
87 | 520 | 14.5 | 0.0279 | 800 | 983 | Dy_auto
88 | 514 | 14.5 | 0.0283 | 791 | 983 | Dy_auto
89 | 508 | 14.5 | 0.0285 | 783 | 981 | Dy_auto
90 | 503 | 14.4 | 0.0286 | 774 | 974 | Dy_auto
91 | 497 | 14.3 | 0.0287 | 765 | 967 | Dy_auto
92 | 492 | 14.2 | 0.0289 | 757 | 963 | Dy_auto
93 | 486 | 14.1 | 0.029 | 748 | 954 | Dy_auto
94 | 481 | 14.1 | 0.0293 | 740 | 954 | Dy_auto
95 | 475 | 14 | 0.0294 | 731 | 945 | Dy_auto
96 | 469 | 13.9 | 0.0297 | 722 | 943 | Dy_auto
97 | 464 | 13.9 | 0.0299 | 714 | 940 | Dy_auto
98 | 458 | 13.8 | 0.0302 | 705 | 935 | Dy_auto
99 | 453 | 13.8 | 0.0304 | 697 | 932 | Dy_auto
100 | 447 | 13.7 | 0.0306 | 688 | 925 | Dy_auto
101 | 441 | 13.6 | 0.0307 | 679 | 918 | Dy_auto
102 | 436 | 13.7 | 0.0313 | 671 | 924 | Dy_auto
103 | 430 | 13.5 | 0.0314 | 662 | 916 | Dy_auto
104 | 425 | 13.4 | 0.0316 | 654 | 909 | Dy_auto
105 | 419 | 13.3 | 0.0317 | 645 | 900 | Dy_auto
106 | 413 | 13.2 | 0.0319 | 636 | 892 | Dy_auto
107 | 408 | 13 | 0.032 | 628 | 883 | Dy_auto
108 | 402 | 13 | 0.0323 | 619 | 881 | Dy_auto
109 | 397 | 13 | 0.0327 | 611 | 877 | Dy_auto
110 | 391 | 12.9 | 0.0329 | 602 | 870 | Dy_auto
111 | 386 | 12.8 | 0.0331 | 593 | 864 | Dy_auto
112 | 380 | 12.7 | 0.0334 | 585 | 858 | Dy_auto
113 | 374 | 12.6 | 0.0337 | 576 | 854 | Dy_auto
114 | 369 | 12.6 | 0.034 | 568 | 850 | Dy_auto
115 | 363 | 12.4 | 0.0342 | 559 | 841 | Dy_auto
116 | 358 | 12.4 | 0.0347 | 550 | 839 | Dy_auto
117 | 352 | 12.3 | 0.035 | 542 | 834 | Dy_auto
118 | 346 | 12.3 | 0.0355 | 533 | 831 | Dy_auto
119 | 341 | 12.2 | 0.0358 | 525 | 825 | Dy_auto
120 | 335 | 12.1 | 0.036 | 516 | 817 | Dy_auto
121 | 330 | 12 | 0.0364 | 507 | 813 | Dy_auto
122 | 324 | 11.9 | 0.0368 | 499 | 808 | Dy_auto
123 | 319 | 11.8 | 0.0371 | 490 | 799 | Dy_auto
124 | 313 | 11.7 | 0.0375 | 482 | 795 | Dy_auto
125 | 307 | 11.7 | 0.038 | 473 | 791 | Dy_auto
126 | 302 | 11.6 | 0.0384 | 464 | 783 | Dy_auto
127 | 296 | 11.5 | 0.0389 | 456 | 779 | Dy_auto
128 | 291 | 11.5 | 0.0394 | 447 | 775 | Dy_auto
129 | 285 | 11.3 | 0.0396 | 439 | 764 | Dy_auto
130 | 279 | 11.2 | 0.0402 | 430 | 761 | Dy_auto
131 | 274 | 11.1 | 0.0407 | 421 | 754 | Dy_auto
132 | 268 | 11 | 0.0411 | 413 | 747 | Dy_auto
133 | 263 | 11 | 0.0419 | 404 | 744 | Dy_auto
134 | 257 | 10.9 | 0.0423 | 396 | 736 | Dy_auto
135 | 251 | 10.8 | 0.0429 | 387 | 730 | Dy_auto
136 | 246 | 10.7 | 0.0437 | 378 | 727 | Dy_auto
137 | 240 | 10.6 | 0.0442 | 370 | 719 | Dy_auto
138 | 235 | 10.6 | 0.045 | 361 | 714 | Dy_auto
139 | 229 | 10.5 | 0.0457 | 353 | 709 | Dy_auto
140 | 224 | 10.3 | 0.0462 | 344 | 699 | Dy_auto
141 | 218 | 10.3 | 0.0472 | 335 | 697 | Dy_auto
142 | 212 | 10.2 | 0.048 | 327 | 690 | Dy_auto
143 | 207 | 10.1 | 0.0488 | 318 | 684 | Dy_auto
144 | 201 | 10 | 0.0497 | 310 | 677 | Dy_auto
145 | 196 | 9.93 | 0.0507 | 301 | 672 | Dy_auto
146 | 190 | 9.86 | 0.0519 | 292 | 667 | Dy_auto
147 | 184 | 9.77 | 0.053 | 284 | 661 | Dy_auto
148 | 179 | 9.69 | 0.0542 | 275 | 656 | Dy_auto
149 | 173 | 9.61 | 0.0554 | 267 | 650 | Dy_auto
150 | 168 | 9.45 | 0.0564 | 258 | 640 | Dy_auto
151 | 162 | 9.4 | 0.058 | 250 | 636 | Dy_auto
152 | 157 | 9.31 | 0.0595 | 241 | 630 | Dy_auto
153 | 151 | 9.21 | 0.061 | 232 | 623 | Dy_auto
154 | 145 | 9.18 | 0.0631 | 224 | 621 | Dy_auto
155 | 140 | 9.01 | 0.0645 | 215 | 610 | Dy_auto
156 | 134 | 8.94 | 0.0666 | 207 | 605 | Dy_auto
157 | 129 | 8.94 | 0.0696 | 198 | 605 | Dy_auto
158 | 123 | 8.77 | 0.0713 | 189 | 593 | Dy_auto
159 | 117 | 8.68 | 0.074 | 181 | 588 | Dy_auto
160 | 112 | 8.6 | 0.077 | 172 | 582 | Dy_auto
161 | 106 | 8.49 | 0.0799 | 164 | 574 | Dy_auto
162 | 101 | 8.32 | 0.0826 | 155 | 563 | Dy_auto
163 | 95.1 | 8.21 | 0.0863 | 146 | 555 | Dy_auto
164 | 89.5 | 8.12 | 0.0907 | 138 | 549 | Dy_auto
165 | 83.9 | 8.02 | 0.0956 | 129 | 543 | Dy_auto
166 | 78.3 | 7.88 | 0.101 | 121 | 534 | Dy_auto
167 | 72.7 | 7.76 | 0.107 | 112 | 525 | Dy_auto
168 | 67.1 | 7.52 | 0.112 | 103 | 509 | Dy_auto
169 | 61.5 | 7.58 | 0.123 | 94.7 | 513 | Dy_auto
170 | 56 | 7.29 | 0.13 | 86.1 | 493 | Dy_auto
171 | 50.4 | 7.15 | 0.142 | 77.5 | 484 | Dy_auto
172 | 44.8 | 6.96 | 0.155 | 68.9 | 471 | Dy_auto
173 | 39.2 | 6.79 | 0.173 | 60.3 | 459 | Dy_auto
174 | 33.6 | 6.6 | 0.196 | 51.7 | 446 | Dy_auto
175 | 28 | 6.36 | 0.227 | 43.1 | 431 | Dy_auto
176 | 22.4 | 6.15 | 0.274 | 34.5 | 416 | Dy_auto
177 | 16.9 | 5.85 | 0.347 | 25.9 | 396 | Dy_auto
178 | 11.3 | 4.9 | 0.435 | 17.4 | 332 | Dy_auto
179 | 5.69 | 4.13 | 0.726 | 8.75 | 279 | Dy_auto
180 | 0.1 | 1.46 | 14.6 | 0.154 | 98.7 | Dy_auto
Interval: |  |  | 3
Number of Data Points: |  |  | 180
Time Setting: |  |  | 180 Meas. Pts., Reset Strain
Meas. Pt. Duration 2 s
Measuring Profile:
Shear Rate |  |  | d(gamma)/dt = 0,1 ... 1 000 1/s lin
Meas. Pts. | Shear Rate | Shear Stress | Viscosity | Speed | Torque | Status
| [1/s] | [Pa] | [Pa·s] | [1/min] | [µNm] | []
1 | 0.1 | 1.47 | 14.7 | 0.154 | 99.2 | Dy_auto
2 | 5.68 | 4.26 | 0.75 | 8.75 | 288 | Dy_auto
3 | 11.3 | 4.96 | 0.44 | 17.3 | 336 | Dy_auto
4 | 16.9 | 5.45 | 0.323 | 25.9 | 369 | Dy_auto
5 | 22.4 | 5.84 | 0.26 | 34.5 | 395 | Dy_auto
6 | 28 | 6.44 | 0.23 | 43.1 | 436 | Dy_auto
7 | 33.6 | 6.41 | 0.191 | 51.7 | 434 | Dy_auto
8 | 39.2 | 6.83 | 0.174 | 60.3 | 462 | Dy_auto
9 | 44.8 | 6.98 | 0.156 | 68.9 | 473 | Dy_auto
10 | 50.4 | 7.16 | 0.142 | 77.5 | 484 | Dy_auto
11 | 55.9 | 7.31 | 0.131 | 86.1 | 495 | Dy_auto
12 | 61.5 | 7.44 | 0.121 | 94.7 | 504 | Dy_auto
13 | 67.1 | 7.7 | 0.115 | 103 | 521 | Dy_auto
14 | 72.7 | 7.74 | 0.106 | 112 | 524 | Dy_auto
15 | 78.3 | 7.94 | 0.101 | 121 | 537 | Dy_auto
16 | 83.9 | 8.02 | 0.0957 | 129 | 543 | Dy_auto
17 | 89.5 | 8.18 | 0.0914 | 138 | 554 | Dy_auto
18 | 95.1 | 8.25 | 0.0868 | 146 | 558 | Dy_auto
19 | 101 | 8.37 | 0.0832 | 155 | 566 | Dy_auto
20 | 106 | 8.58 | 0.0808 | 163 | 581 | Dy_auto
21 | 112 | 8.63 | 0.0772 | 172 | 584 | Dy_auto
22 | 117 | 8.73 | 0.0743 | 181 | 591 | Dy_auto
23 | 123 | 8.79 | 0.0715 | 189 | 595 | Dy_auto
24 | 129 | 8.94 | 0.0695 | 198 | 605 | Dy_auto
25 | 134 | 8.98 | 0.0669 | 206 | 607 | Dy_auto
26 | 140 | 9.13 | 0.0654 | 215 | 618 | Dy_auto
27 | 145 | 9.25 | 0.0637 | 224 | 626 | Dy_auto
28 | 151 | 9.32 | 0.0618 | 232 | 631 | Dy_auto
29 | 157 | 9.37 | 0.0598 | 241 | 634 | Dy_auto
30 | 162 | 9.45 | 0.0583 | 250 | 640 | Dy_auto
31 | 168 | 9.64 | 0.0575 | 258 | 652 | Dy_auto
32 | 173 | 9.69 | 0.0559 | 267 | 656 | Dy_auto
33 | 179 | 9.83 | 0.0549 | 275 | 665 | Dy_auto
34 | 184 | 9.82 | 0.0532 | 284 | 664 | Dy_auto
35 | 190 | 10 | 0.0528 | 292 | 679 | Dy_auto
36 | 196 | 10.1 | 0.0516 | 301 | 683 | Dy_auto
37 | 201 | 10.1 | 0.0503 | 310 | 685 | Dy_auto
38 | 207 | 10.2 | 0.0495 | 318 | 693 | Dy_auto
39 | 212 | 10.4 | 0.0488 | 327 | 702 | Dy_auto
40 | 218 | 10.4 | 0.0478 | 335 | 705 | Dy_auto
41 | 224 | 10.4 | 0.0466 | 344 | 704 | Dy_auto
42 | 229 | 10.5 | 0.046 | 353 | 713 | Dy_auto
43 | 235 | 10.6 | 0.0452 | 361 | 718 | Dy_auto
44 | 240 | 10.7 | 0.0446 | 370 | 726 | Dy_auto
45 | 246 | 10.8 | 0.0438 | 378 | 729 | Dy_auto
46 | 251 | 10.9 | 0.0435 | 387 | 740 | Dy_auto
47 | 257 | 11 | 0.0428 | 396 | 744 | Dy_auto
48 | 263 | 11.1 | 0.0422 | 404 | 750 | Dy_auto
49 | 268 | 11.2 | 0.0416 | 413 | 755 | Dy_auto
50 | 274 | 11.3 | 0.0412 | 421 | 763 | Dy_auto
51 | 279 | 11.4 | 0.0407 | 430 | 769 | Dy_auto
52 | 285 | 11.4 | 0.0401 | 439 | 772 | Dy_auto
53 | 291 | 11.5 | 0.0396 | 447 | 778 | Dy_auto
54 | 296 | 11.6 | 0.0391 | 456 | 784 | Dy_auto
55 | 302 | 11.7 | 0.0388 | 464 | 793 | Dy_auto
56 | 307 | 11.7 | 0.0382 | 473 | 794 | Dy_auto
57 | 313 | 11.8 | 0.0377 | 482 | 798 | Dy_auto
58 | 319 | 11.8 | 0.0372 | 490 | 801 | Dy_auto
59 | 324 | 12 | 0.0369 | 499 | 809 | Dy_auto
60 | 330 | 12 | 0.0364 | 507 | 812 | Dy_auto
61 | 335 | 12.1 | 0.036 | 516 | 818 | Dy_auto
62 | 341 | 12.1 | 0.0355 | 525 | 819 | Dy_auto
63 | 346 | 12.2 | 0.0352 | 533 | 826 | Dy_auto
64 | 352 | 12.3 | 0.0348 | 542 | 830 | Dy_auto
65 | 358 | 12.4 | 0.0346 | 550 | 838 | Dy_auto
66 | 363 | 12.4 | 0.0341 | 559 | 839 | Dy_auto
67 | 369 | 12.5 | 0.0338 | 568 | 845 | Dy_auto
68 | 374 | 12.5 | 0.0335 | 576 | 848 | Dy_auto
69 | 380 | 12.6 | 0.0332 | 585 | 853 | Dy_auto
70 | 386 | 12.7 | 0.033 | 593 | 862 | Dy_auto
71 | 391 | 12.8 | 0.0327 | 602 | 865 | Dy_auto
72 | 397 | 12.9 | 0.0324 | 611 | 871 | Dy_auto
73 | 402 | 12.9 | 0.0322 | 619 | 876 | Dy_auto
74 | 408 | 13 | 0.0318 | 628 | 878 | Dy_auto
75 | 413 | 13 | 0.0316 | 636 | 883 | Dy_auto
76 | 419 | 13.1 | 0.0313 | 645 | 886 | Dy_auto
77 | 425 | 13.2 | 0.031 | 654 | 891 | Dy_auto
78 | 430 | 13.3 | 0.0308 | 662 | 897 | Dy_auto
79 | 436 | 13.3 | 0.0304 | 671 | 898 | Dy_auto
80 | 441 | 13.3 | 0.0302 | 679 | 902 | Dy_auto
81 | 447 | 13.4 | 0.03 | 688 | 908 | Dy_auto
82 | 453 | 13.5 | 0.0298 | 697 | 913 | Dy_auto
83 | 458 | 13.6 | 0.0296 | 705 | 918 | Dy_auto
84 | 464 | 13.6 | 0.0294 | 714 | 922 | Dy_auto
85 | 469 | 13.7 | 0.0292 | 722 | 927 | Dy_auto
86 | 475 | 13.8 | 0.0291 | 731 | 934 | Dy_auto
87 | 480 | 13.9 | 0.0288 | 740 | 938 | Dy_auto
88 | 486 | 13.9 | 0.0287 | 748 | 944 | Dy_auto
89 | 492 | 13.9 | 0.0284 | 757 | 944 | Dy_auto
90 | 497 | 14 | 0.0282 | 765 | 948 | Dy_auto
91 | 503 | 14.1 | 0.028 | 774 | 954 | Dy_auto
92 | 508 | 14.2 | 0.0278 | 783 | 958 | Dy_auto
93 | 514 | 14.2 | 0.0276 | 791 | 961 | Dy_auto
94 | 520 | 14.3 | 0.0275 | 800 | 965 | Dy_auto
95 | 525 | 14.3 | 0.0273 | 808 | 971 | Dy_auto
96 | 531 | 14.4 | 0.0271 | 817 | 974 | Dy_auto
97 | 536 | 14.5 | 0.027 | 826 | 980 | Dy_auto
98 | 542 | 14.5 | 0.0268 | 834 | 983 | Dy_auto
99 | 548 | 14.6 | 0.0266 | 843 | 985 | Dy_auto
100 | 553 | 14.6 | 0.0264 | 851 | 988 | Dy_auto
101 | 559 | 14.7 | 0.0262 | 860 | 992 | Dy_auto
102 | 564 | 14.7 | 0.026 | 869 | 993 | Dy_auto
103 | 570 | 14.8 | 0.0259 | 877 | 999 | Dy_auto
104 | 575 | 14.9 | 0.0258 | 886 | 1 010 | Dy_auto
105 | 581 | 14.9 | 0.0257 | 894 | 1 010 | Dy_auto
106 | 587 | 15 | 0.0255 | 903 | 1 010 | Dy_auto
107 | 592 | 15.1 | 0.0255 | 912 | 1 020 | Dy_auto
108 | 598 | 15.2 | 0.0254 | 920 | 1 030 | Dy_auto
109 | 603 | 15.2 | 0.0252 | 929 | 1 030 | Dy_auto
110 | 609 | 15.3 | 0.0251 | 937 | 1 030 | Dy_auto
111 | 615 | 15.4 | 0.0251 | 946 | 1 040 | Dy_auto
112 | 620 | 15.5 | 0.0249 | 955 | 1 050 | Dy_auto
113 | 626 | 15.5 | 0.0248 | 963 | 1 050 | Dy_auto
114 | 631 | 15.5 | 0.0246 | 972 | 1 050 | Dy_auto
115 | 637 | 15.6 | 0.0245 | 980 | 1 050 | Dy_auto
116 | 642 | 15.7 | 0.0244 | 989 | 1 060 | Dy_auto
117 | 648 | 15.7 | 0.0242 | 998 | 1 060 | Dy_auto
118 | 654 | 15.8 | 0.0241 | 1 010 | 1 070 | Dy_auto
119 | 659 | 15.8 | 0.024 | 1 010 | 1 070 | Dy_auto
120 | 665 | 15.9 | 0.024 | 1 020 | 1 080 | Dy_auto
121 | 670 | 16 | 0.0238 | 1 030 | 1 080 | Dy_auto
122 | 676 | 16 | 0.0237 | 1 040 | 1 080 | Dy_auto
123 | 682 | 16 | 0.0235 | 1 050 | 1 090 | Dy_auto
124 | 687 | 16.1 | 0.0235 | 1 060 | 1 090 | Dy_auto
125 | 693 | 16.2 | 0.0234 | 1 070 | 1 100 | Dy_auto
126 | 698 | 16.3 | 0.0234 | 1 070 | 1 100 | Dy_auto
127 | 704 | 16.3 | 0.0232 | 1 080 | 1 110 | Dy_auto
128 | 710 | 16.3 | 0.023 | 1 090 | 1 100 | Dy_auto
129 | 715 | 16.4 | 0.0229 | 1 100 | 1 110 | Dy_auto
130 | 721 | 16.5 | 0.0229 | 1 110 | 1 120 | Dy_auto
131 | 726 | 17 | 0.0234 | 1 120 | 1 150 | Dy_auto
132 | 732 | 18 | 0.0246 | 1 130 | 1 220 | Dy_auto
133 | 737 | 19 | 0.0257 | 1 140 | 1 280 | Dy_auto
134 | 743 | 19.2 | 0.0258 | 1 140 | 1 300 | Dy_auto
135 | 749 | 19.3 | 0.0257 | 1 150 | 1 300 | Dy_auto
136 | 754 | 19.4 | 0.0258 | 1 160 | 1 320 | Dy_auto
137 | 760 | 19.6 | 0.0258 | 1 170 | 1 330 | Dy_auto
138 | 765 | 19.7 | 0.0257 | 1 180 | 1 330 | Dy_auto
139 | 771 | 19.8 | 0.0257 | 1 190 | 1 340 | Dy_auto
140 | 777 | 20 | 0.0257 | 1 200 | 1 350 | Dy_auto
141 | 782 | 20 | 0.0256 | 1 200 | 1 360 | Dy_auto
142 | 788 | 20.3 | 0.0258 | 1 210 | 1 380 | Dy_auto
143 | 793 | 21 | 0.0264 | 1 220 | 1 420 | Dy_auto
144 | 799 | 21.1 | 0.0264 | 1 230 | 1 430 | Dy_auto
145 | 804 | 21.3 | 0.0265 | 1 240 | 1 440 | Dy_auto
146 | 810 | 21.4 | 0.0265 | 1 250 | 1 450 | Dy_auto
147 | 816 | 21.6 | 0.0265 | 1 260 | 1 460 | Dy_auto
148 | 821 | 21.8 | 0.0265 | 1 260 | 1 470 | Dy_auto
149 | 827 | 22 | 0.0266 | 1 270 | 1 490 | Dy_auto
150 | 832 | 22.2 | 0.0266 | 1 280 | 1 500 | Dy_auto
151 | 838 | 22.3 | 0.0266 | 1 290 | 1 510 | Dy_auto
152 | 844 | 22.5 | 0.0267 | 1 300 | 1 520 | Dy_auto
153 | 849 | 22.7 | 0.0268 | 1 310 | 1 540 | Dy_auto
154 | 855 | 22.9 | 0.0268 | 1 320 | 1 550 | Dy_auto
155 | 860 | 23.1 | 0.0268 | 1 320 | 1 560 | Dy_auto
156 | 866 | 23.3 | 0.0269 | 1 330 | 1 570 | Dy_auto
157 | 872 | 23.5 | 0.0269 | 1 340 | 1 590 | Dy_auto
158 | 877 | 23.6 | 0.027 | 1 350 | 1 600 | Dy_auto
159 | 883 | 23.9 | 0.027 | 1 360 | 1 610 | Dy_auto
160 | 888 | 24.1 | 0.0271 | 1 370 | 1 630 | Dy_auto
161 | 894 | 24.3 | 0.0272 | 1 380 | 1 640 | Dy_auto
162 | 899 | 24.4 | 0.0272 | 1 380 | 1 650 | Dy_auto
163 | 905 | 24.6 | 0.0272 | 1 390 | 1 670 | Dy_auto
164 | 911 | 24.8 | 0.0272 | 1 400 | 1 680 | Dy_auto
165 | 916 | 25 | 0.0272 | 1 410 | 1 690 | Dy_auto
166 | 922 | 25.2 | 0.0273 | 1 420 | 1 700 | Dy_auto
167 | 927 | 25.4 | 0.0274 | 1 430 | 1 720 | Dy_auto
168 | 933 | 25.6 | 0.0274 | 1 440 | 1 730 | Dy_auto
169 | 939 | 25.8 | 0.0275 | 1 440 | 1 750 | Dy_auto
170 | 944 | 26 | 0.0276 | 1 450 | 1 760 | Dy_auto
171 | 950 | 26.2 | 0.0276 | 1 460 | 1 770 | Dy_auto
172 | 955 | 26.4 | 0.0277 | 1 470 | 1 790 | Dy_auto
173 | 961 | 26.7 | 0.0278 | 1 480 | 1 810 | Dy_auto
174 | 966 | 26.9 | 0.0278 | 1 490 | 1 820 | Dy_auto
175 | 972 | 27.1 | 0.0279 | 1 500 | 1 830 | Dy_auto
176 | 978 | 27.3 | 0.028 | 1 500 | 1 850 | Dy_auto
177 | 983 | 27.5 | 0.028 | 1 510 | 1 860 | Dy_auto
178 | 989 | 27.6 | 0.0279 | 1 520 | 1 870 | Dy_auto
179 | 994 | 27.8 | 0.028 | 1 530 | 1 880 | Dy_auto
180 | 1000 | 28.1 | 0.0281 | 1 540 | 1 900 | Dy_auto